ASCR-06-OE03-Deployment-and-Commissioning

| File ID | ASCR-06-OE03-Deployment-and-Commissioning |
| --- | --- |
| Format | .docx |
| Version | 1.0 — June 2026 |
| Consolidates | ASCR-06-VIS |
| Type/Scope | Vendor implementation specification covering Kubernetes deployment, OT-edge gateway deployment, Safe-State response integration/handoff, digital-twin implementation, observability, runbooks, and commissioning validation |
| Precedence | ASCR-06 main document governs verification semantics and verdict logic; OE03 governs deployment topology and runtime binding. Where the files conflict, the ASCR-06 main document controls. |

Scope: Vendor implementation specification: Kubernetes deployment, OT edge gateway deployment, Safe-State response-integration and handoff wiring, digital twin implementation, observability/runbooks, and commissioning validation (ASCR-06-VIS) for ASCR-06 implementations.

Where this file conflicts with the ASCR-06 main document on verification semantics or verdict logic, the ASCR-06 main document governs. OE03 governs deployment topology and runtime binding within that semantic boundary.

Version: 1.0 — June 2026 (this file versions in lockstep with the ASCR-06 main document; do not deploy at a version other than the current ASCR-06 main-document version).

Change control: Changes to this file follow the ASCR-10 change authorization workflow and require a corresponding version increment in the ASCR-06 main document and all sibling OE files.

Contents of this file: Vendor Implementation Specification (ASCR-06-VIS). The full commissioning checklist itself is maintained in the ASCR-06 main document, Section 6, effective this version (it is no longer a separate file).

ASCR-06-VIS

Vendor Implementation Specification

Before configuration: Complete the What You Must Define Before Use table in the ASCR-06 main document. This OE does not provide production defaults for values identified there as deployment-defined.

Supporting Specification for ASCR-06 - Digital Twin Step-Ahead Verification Layer 3: Deployment Binding - Kubernetes, OT Gateway, Edge Topology

Document overview

| Field | Value |
| --- | --- |
| Document ID | ASCR-06-VIS v1.0 |
| Parent Artifact | ASCR-06 - Digital Twin Step-Ahead Verification v1.0 |
| Layer Position | Operational Extension 03: Vendor deployment binding (references ASCR-06-API and ASCR-06-MFAP/CSP specifications) |
| Document Type | Vendor Implementation Specification - normative for all deploying vendors |
| Dependencies | ASCR-06-API v1.0, ASCR-06-MFAP v1.0, ASCR-06-CSP v1.0, ASCR-03 §2 §5 §6 |
| Owner Roles | OT Engineering Lead, AI/ML Engineering Lead, Vendor Integration Architect |
| Scope | Kubernetes cloud deployment, OT edge gateway deployment, hybrid topology, OPC-UA binding, PLC interface patterns, Safe-State response integration and handoff wiring |

Section 1 - Architecture overview

1.1 Three-tier deployment model

ASCR-06 must be deployed as a three-tier architecture. Each tier has distinct responsibilities, isolation requirements, and failure behaviors. No tier may absorb the responsibilities of another.

| Tier | Name | Location | Primary Responsibility |
| --- | --- | --- | --- |
| T1 | OT Edge Stub | Edge node co-located with OT gateway | Pre-authorization cache, drift monitoring, bootstrap detection |
| T2 | Verification Engine Cluster | Isolated compute cluster (cloud or on-prem enclave) | Full step-ahead simulation, MFAP arbitration, verdict production |
| T3 | Evidence & Propagation Layer | ASCR-07 log store + CSP propagation bus | Append-only logging, cascade response-scope propagation and evidence correlation |

ASCR-04 Layer 6
      |
      v
[T1] OT Edge Stub
      |-- eligible pre-auth cache hit -> cache-use evidence accepted by ASCR-07 or approved durable relay
      |                              -> cached verdict returned with original execution reference
      |
      | cache miss
      v
[T2] Verification Engine Cluster
      | drift -> HARD_BLOCK -> simulation -> MFAP
      | required verdict evidence accepted by ASCR-07 or approved durable relay
      v
Verdict returned to ASCR-04 Layer 6
      |
      v
[T3] Evidence & Propagation Layer
      | CSP determines affected dependency scope
      | governed affected-system response scope delivered to ASCR-04
      | associated cascade evidence writes may be asynchronous and non-blocking
      v
ASCR-04 applies the governed enforcement / safety-control handoff

1.2 Isolation requirements

The following isolation rules are non-negotiable. A deployment that violates any of them is not a conforming ASCR-06 implementation regardless of functional behavior.

| Rule | Applies To | Rationale |
| --- | --- | --- |
| T2 cluster must not be reachable from the public internet | T2 | Simulation engine is a high-value target; external reachability invalidates TEE attestation model |
| OT telemetry enters ASCR-06 through a hardware-unidirectional boundary between an OT-side telemetry collector and the ASCR-06 receive-side telemetry component | OT collector -> ASCR-06 receive-side boundary | Interactive OT protocol sessions terminate on the OT side; only diode-approved one-way telemetry replication crosses the hardware boundary |
| T3 ASCR-07 store must be append-only; no delete or overwrite path may exist | T3 | Merkle-chain integrity depends on immutability; a writable log is not an ASCR-07 implementation |
| T2 must not write to live OT systems under any code path including error handlers | T2 | ASCR-06/T2 has no OT write path. Normal governed agentic actuation is enforced through ASCR-04. A deployment-approved independent safety, machine-safety, SIS, or other physical-control function may use a separately governed write-capable path where required by the physical safety architecture. Such a path is independent of ASCR-06 and must not use the ASCR-06 telemetry/data-diode path. |
| The logical caller must be ASCR-04 Layer 6. Direct verifier ingress is from the authorized ASCR-04 path; where commissioned, ascr06-edge-stub may be the network source only as the controlled ASCR-04 transport proxy defined in §2.2. No independent caller is permitted. | T2 | Verdict endpoint remains attached to the ASCR-04 enforcement boundary. A commissioned edge stub is a transport proxy for ASCR-04, not an independent caller; unrestricted callers could bypass the governed ASCR-04 request path. |

# Section 2 - Kubernetes deployment specification

## 2.1 Required workloads

The following Kubernetes manifest is a reference deployment pattern. The functional roles and security relationships are normative for an implementation claiming ASCR-06 conformance. Replica counts, CPU and memory allocations, autoscaling bounds, queue-depth targets, ports that are not fixed by an external protocol, and other capacity values shown below are illustrative starting points only and must be replaced or explicitly accepted based on deployment sizing and load-test evidence before go-live. Equivalent workload names may be used when the deployment mapping records their correspondence to the canonical ASCR-06 roles.

# ── ASCR-06 Verification Engine ─────────────────────────────────────────

apiVersion: apps/v1

kind: Deployment

metadata:

name: ascr06-verifier

namespace: ascr-enforcement

spec:

replicas: 3  # EXAMPLE ONLY; replace from availability and capacity testing; HPA controls upper bound

selector:

matchLabels:

app: ascr06-verifier

template:

metadata:

labels:

app: ascr06-verifier

spec:

runtimeClassName: <approved_tee_runtime_class>  # deployment-defined from tee_runtime_profile

containers:

- name: verifier

# TEE-compatible runtime required (see §2.3)

resources:

requests:

memory: '4Gi'  # EXAMPLE ONLY

cpu: '2'  # EXAMPLE ONLY

limits:

memory: '8Gi'  # EXAMPLE ONLY

cpu: '4'  # EXAMPLE ONLY

env:

- name: ASCR06_MODEL_VERSIONS_BUNDLE

valueFrom:

secretKeyRef:

name: ascr06-model-secrets

key: model_versions_bundle

- name: ASCR06_CENTROID_HASHES

valueFrom:

secretKeyRef:

name: ascr06-model-secrets

key: centroid_hashes

- name: ASCR03_CONFIG_BUNDLE

valueFrom:

secretKeyRef:

name: ascr06-model-secrets

key: ascr03_config_bundle

---

# ── Service: internal only ───────────────────────────────────────────────

apiVersion: v1

kind: Service

metadata:

name: ascr06-verifier

namespace: ascr-enforcement

spec:

type: ClusterIP  # NEVER LoadBalancer or NodePort

selector:

app: ascr06-verifier

ports:

- port: 8443

targetPort: 8443

protocol: TCP

---

# ── HPA: scale on queue depth, not CPU ──────────────────────────────────

apiVersion: autoscaling/v2

kind: HorizontalPodAutoscaler

metadata:

name: ascr06-verifier-hpa

namespace: ascr-enforcement

spec:

scaleTargetRef:

apiVersion: apps/v1

kind: Deployment

name: ascr06-verifier

minReplicas: 3  # EXAMPLE ONLY

maxReplicas: 20  # EXAMPLE ONLY

metrics:

- type: External

external:

metric:

name: ascr06_verify_queue_depth

target:

type: AverageValue

averageValue: '<hpa_queue_target>'  # deployment load-tested value from the Main operational-parameter ledger

2.2 Network policy

The following NetworkPolicy pattern is mandatory in intent. Verification traffic may enter the verifier only from the authorized ASCR-04 path. Where the commissioned topology uses ascr06-edge-stub as a controlled transport proxy, that pod may be an ingress source only when it accepts requests exclusively from ASCR-04 and preserves the originating request identity and authorization context. Egress is restricted to ASCR-07, the approved attestation verifier or attestation proxy required by tee_runtime_profile, and required infrastructure services such as DNS. The verifier has no OT-zone egress path.

apiVersion: networking.k8s.io/v1

kind: NetworkPolicy

metadata:

name: ascr06-verifier-netpol

namespace: ascr-enforcement

spec:

podSelector:

matchLabels:

app: ascr06-verifier

policyTypes: [Ingress, Egress]

ingress:

- from:

- podSelector:

matchLabels:

app: ascr04-gateway

- podSelector:

matchLabels:

app: ascr06-edge-stub  # only when commissioned as the controlled ASCR-04 proxy

ports:

- protocol: TCP

port: 8443

egress:

- to:

- podSelector:

matchLabels:

app: ascr07-log-writer

ports:

- protocol: TCP

port: 8444

- to:

- podSelector:

matchLabels:

app: ascr06-attestation-proxy

ports:

- protocol: TCP

port: '<deployment-approved port from tee_runtime_profile>'

# Add deployment-approved DNS egress only when required by the commissioned resolver binding.

# No egress rule may provide a route into the OT network.

OT telemetry acquisition uses an explicit protocol break. Interactive OPC-UA, Modbus TCP, EtherNet/IP, or other approved OT protocol sessions terminate on an OT-side telemetry collector. That collector performs the approved read operations and serializes normalized telemetry into a diode-approved unidirectional replication format. Only the resulting one-way telemetry stream crosses the hardware-enforced boundary to an ASCR-06 receive-side telemetry component. The receive-side component validates integrity and freshness and exposes normalized state through read-only local IPC, a read-only shared volume, or another non-OT-facing local interface. ASCR-06 does not originate a connection into the OT network.

2.3 TEE runtime requirement

The verification engine workload must run inside a Trusted Execution Environment. The following TEE configurations are acceptable. Vendors must document their chosen TEE in ASCR-03 Section 5.

| TEE Type | Kubernetes Implementation | Attestation Verification |
| --- | --- | --- |
| Intel TDX | RuntimeClass: kata-tdx or equivalent confidential container runtime | Remote attestation via Intel Trust Authority or equivalent; attestation quote written to ASCR-07 on each pod start |
| AMD SEV-SNP | RuntimeClass: kata-snp or equivalent | SEV-SNP attestation report verification using AMD KDS-provided VCEK certificate material or an approved validated local certificate cache; measurement written to ASCR-07 on each pod start |
| ARM CCA | RuntimeClass: CCA-compatible runtime | CCA realm attestation token written to ASCR-07 on each pod start |
| Software enclave (fallback) | Allowed only in pre-production TVA environments | Must be documented as non-production in ASCR-03; not permitted for live enforcement |

CRITICAL - TEE Attestation Failure

If TEE attestation fails at pod startup, the pod must not accept any VerifyCommand requests. It must write an I01_TEE_FAILURE event to ASCR-07 and remain in a reject-all state until a pod restart produces a successful attestation. This is a Runtime Integrity condition per ASCR-06 §5.3.

2.4 Secret management

The following secrets must be managed via Kubernetes Secrets backed by an HSM or external secrets manager. Secrets must not be stored in ConfigMaps, environment variable literals, or container images.

| Secret Name | Contents | Rotation Trigger |
| --- | --- | --- |
| ascr06-model-secrets / model_versions_bundle | Version strings for twin, policy, and embedding models | Any AI-BOM Dimension 1 or 2 change per ASCR-10 |
| ascr06-model-secrets / centroid_hashes | SHA-256 hashes of authorized-objective centroid vectors | Any AI-BOM Dimension 2 or 3 change per ASCR-10 |
| ascr06-model-secrets / ascr03_config_bundle | Signed ASCR-03 §5 config: thresholds, constraints, Safe-State defs | Any ASCR-10 authorized change to ASCR-03 §5 or §6 |
| ascr06-tee-attestation / key_ref | Reference or handle to the non-exportable attestation/integrity-signing key managed by the selected TEE, HSM, or approved attestation service | Rotate or rebind according to the selected TEE/HSM key-management policy and on applicable platform security events |

Section 3 - OT edge gateway deployment

3.1 Edge node architecture

The OT Edge Stub (T1) runs co-located with the OT gateway at the facility edge. It performs lightweight pre-authorization cache lookups and drift monitoring. It never runs full simulation.

OT protocol acquisition is performed by an OT-side telemetry collector that terminates interactive protocol sessions on the OT side of the hardware-unidirectional boundary. The collector sends normalized one-way telemetry replication across the diode to the ASCR-06 receive-side component; OPC-UA, Modbus TCP, and EtherNet/IP request/response or session traffic does not traverse the diode directly.

Edge Node Components:

ascr06-edge-stub

- pre-authorization token cache (in-memory, bounded size)

- drift monitor (consumes the normalized receive-side telemetry feed and evaluates it against the governed drift threshold)

- bootstrap state manager (manages BOOTSTRAP / INITIALIZED transitions)

- ASCR-04 Layer 6 interface (receives VerifyCommand, routes to T2 or cache)

data-diode-connector

- hardware-enforced unidirectional OT → ASCR-06 telemetry path

- no software override permitted

- validates telemetry message integrity before forwarding

ascr07-edge-relay

- buffers required ASCR-07 evidence during T3 connectivity loss using commissioned durable capacity

- preserves original record identity and ordering within the commissioned durable capacity; required evidence must not be overwritten or silently discarded

- uses deployment-defined evidence_relay_buffer_capacity_records and evidence_relay_high_watermark_records

- may use evidence_relay_spillover_ref only when the approved durable store preserves the same integrity, ordering, access-control, durability, and replay requirements

- enters EVIDENCE_PATH_SUSPENDED when all approved persistence capacity is unavailable or exhausted

- while EVIDENCE_PATH_SUSPENDED, no new enforcement-grade PASS may be returned for a consequential invocation requiring the unavailable evidence write; return S09_EVIDENCE_PATH_CAPACITY_EXHAUSTED and map the affected invocation to TIMEOUT at ASCR-04

- resumes normal verdict production only after durable persistence is restored and the retained backlog can be replayed in original order with integrity verification

- Blueprint starting example only: 10,000-record buffer capacity and 5,000-record high-watermark; replace both with deployment-tested values before production

3.2 OPC-UA binding patterns

Independent-source metadata

For each source used as independent corroboration, the deployment configuration must record source_id, source_owner, independence_domain, corroborates_state_variables[], shared_upstream_dependencies[], freshness_limit_ms, and conflict_behavior. A source that shares a controllable upstream aggregation, transformation, vendor-agent, or context-processing dependency with the assertion being verified must not be counted as independent corroboration for that assertion.

For OPC-UA deployments, the OT-side telemetry collector acquires OT state through approved read-only OPC-UA subscriptions. The collector terminates the OPC-UA session on the OT side of the hardware-unidirectional boundary and replicates normalized telemetry one way to the ASCR-06 receive-side component. The following binding patterns govern the OT-side collector configuration; ASCR-06 does not originate an OPC-UA session across the diode.

| OT Data Type | OT-side collector binding | ASCR-06 Normalization |
| --- | --- | --- |
| PLC register values | OT-side collector OPC-UA subscription on all register NodeIds defined in ASCR-03 §2 system registration; publishing interval = drift_check_interval_ms | Values older than freshness_limit_ms trigger FI-DRIFT-STALE equivalent behavior |
| Discrete control signals | OT-side collector OPC-UA DataChange subscription with deadband = 0 (no filtering); all state transitions captured | Map to boolean fields in canonical state; missed transitions are a bootstrap data gap |
| Continuous sensor values | OPC-UA subscription with deadband configured per sensor class in ASCR-03 §5 | Preserve the raw observed value. Mark values beyond the deployment-approved plausibility or statistical range with quality and outlier metadata and record the unmodified observation in ASCR-07. Do not replace or clip a physical-state value solely because it is statistically unusual. If the value cannot be established as trustworthy under the deployment's sensor-validation and corroboration rules, enter the applicable drift or telemetry-degradation suspension path and do not produce PASS until state validity is restored. |
| WMS / WCS inventory state | REST or GraphQL poll at configured interval; not OPC-UA | Include in canonical state graph as discrete inventory dimension; poll failure triggers partial-state drift flag |

3.3 Modbus TCP binding

For OT-side collector interfaces using Modbus TCP in place of OPC-UA:

The OT-side collector polls all holding registers and input registers defined in ASCR-03 Section 2 at the configured drift_check_interval_ms; only normalized one-way telemetry replication crosses the hardware-unidirectional boundary.

The OT-side collector uses function codes FC03 (read holding registers) and FC04 (read input registers) only. Write function codes must be disabled in the collector configuration.

The OT-side collector maps register addresses to canonical state fields per the ASCR-03 Section 2 register map before one-way replication. A register map that is missing from ASCR-03 Section 2 is a commissioning gap; the system must not proceed to go-live without it.

Loss of the OT-side collector Modbus TCP session must be treated as FI-OT-PACKET_DROP equivalent: raise the drift flag and suspend verification when loss exceeds telemetry_transport_timeout_ms.

3.4 EtherNet/IP binding

For OT-side collector connections to Allen-Bradley and other EtherNet/IP PLCs:

The OT-side collector may use implicit messaging (Class 1) for cyclic state acquisition at the configured rate. Explicit messaging (Class 3) is acceptable for low-frequency inventory state. Only normalized one-way telemetry replication crosses the hardware-unidirectional boundary.

Configure input assembly instances in the OT-side collector as defined in ASCR-03 Section 2. Output assembly instances must not be configured for the ASCR-06 telemetry path; write paths are prohibited.

The OT-side collector CIP connection timeout must use telemetry_transport_timeout_ms. Connection timeout triggers the same drift-escalation behavior as loss of the approved OPC-UA collector session.

3.5 Data diode configuration

The data diode enforcing OT → ASCR-06 unidirectionality must be configured as follows:

| Parameter | Required Configuration |
| --- | --- |
| Direction | OT-side telemetry collector -> hardware-unidirectional boundary -> ASCR-06 receive-side telemetry component. No reverse path. |
| Permitted protocols | Diode-approved unidirectional telemetry replication format only. OPC-UA, Modbus TCP, EtherNet/IP, and other interactive OT sessions terminate on the OT side and do not traverse the diode directly. |
| Blocked protocols | All reverse-path traffic, management-plane traffic, write-capable protocol variants, and any interactive OT protocol session crossing the ASCR-06 hardware-unidirectional boundary. No ASCR-06 → OT path is permitted. |
| External Safe-State actuation path | ASCR-06 has no reverse or write-capable plant path. Any Safe-State actuation command is generated by ASCR-04 or the deployment-approved safety/control function and uses a separate actuation path; it never traverses the ASCR-06 data diode. The data diode has no bidirectional exception. |
| Monitoring | Data diode health must be continuously monitored. Loss of the commissioned one-way telemetry path causes reject-all/TIMEOUT behavior. ASCR-04 applies HOLD/BLOCK; any safety/control handoff occurs only where the applicable ASCR-03 response definition requires it. |

Section 4 - Safe-State response integration and handoff

4.1 Safe-State response path

ASCR-06 must not originate Safe-State actuation commands or maintain a write-capable plant path. Its output is a non-PASS disposition, affected-system response scope, and coordination metadata returned to ASCR-04 Layer 6. ASCR-04 applies the governed HOLD/BLOCK and, where configured, invokes or maintains the deployment-approved safety/control handoff. The applicable safety/control function executes the physical response through a write-capable path that is architecturally separate from ASCR-06. The following integration model is required:

ASCR-06 disposition: FAIL, TIMEOUT, or Runtime Integrity

ASCR-04 Layer 6 gateway

|  enforces HOLD/BLOCK; issues or maintains safety/control handoff

Deployment-approved safety/control function

|  dedicated write-capable safety/actuation path

Physical system Safe-State transition

(per ASCR-03 §6 definition for that system)

CRITICAL - Actuation Path Separation and Ownership

ASCR-06 has no write-capable connection to the OT environment. Its telemetry path is read-only and hardware-enforced. ASCR-04 may issue or maintain the governed safety/control request or handoff, but the physical Safe-State actuation command and transition are generated and executed by the deployment-approved safety/control function or hardware safety mechanism. That physical-response path is write-capable, separately governed, and architecturally independent of the ASCR-06 telemetry path. Combining the physical-response path with the ASCR-06 telemetry path violates the data-diode requirement.

4.2 Per-system Safe-State handoff mapping

The following table provides illustrative mappings from ASCR-03 §6 Safe-State criteria to deployment-approved safety/control actions. The actual Safe-State criteria and physical commands are deployment-defined. ASCR-06 consumes the approved criteria as verification context and does not issue these commands. Vendors must validate each mapping against the physical system behavior and the owning safety/control function before commissioning sign-off.

| Physical System | Illustrative ASCR-03 §6 Criterion | Deployment-Approved Safety/Control Mapping |
| --- | --- | --- |
| Conveyor system | Halt routing changes; maintain current flow state | Executed by the deployment-approved safety/control function: write HALT command to conveyor PLC routing register; do not modify active belt speed until human release |
| Robotic fleet | Complete current task cycle; hold at next waypoint | Executed by the deployment-approved safety/control function: issue HOLD_AT_WAYPOINT command to fleet management API; in-progress pick completes; next task does not start |
| AGV fleet | Navigate to nearest holding zone; if blocked, halt in place with brakes | Executed by the deployment-approved safety/control function: issue GOTO_HOLDING_ZONE to AGV controller; if navigation path blocked, issue HALT_IN_PLACE + ENGAGE_BRAKES; do not retry navigation |
| PLC-controlled staging | Freeze current configuration; alert shift supervisor | Executed by the deployment-approved safety/control function: write FREEZE command to staging PLC; trigger operator alert via SCADA; log ASCR-03 §6 compliance confirmation to ASCR-07 |

4.3 Multi-system Safe-State coordination

Where physical systems have defined dependency relationships in the ASCR-03 §2 dependency graph, ASCR-06 CSP returns the required coordinated response scope to ASCR-04 using the sequence defined in ASCR-03 §6. Vendors must integrate with a named response coordinator owned by ASCR-04 or the deployment-approved safety/control path; the coordinator is not an ASCR-06 plant-write component:

SafeStateResponseCoordinator:

input:  ASCR-06 non-PASS disposition + required_response_scope + source_system_id

step 1: ASCR-06 CSP resolves the dependency group and required coordination sequence from ASCR-03 §6

step 2: ASCR-04 applies HOLD/BLOCK and passes the required scope to the deployment-approved response coordinator

step 3: if coordination sequence exists, the safety/control function executes per-system Safe-State commands in the defined sequence order

ASCR-04 and/or the control/safety path provide handoff and physical-confirmation evidence per system

if no valid coordination sequence exists:

fail closed as a commissioning/configuration defect; do not treat independent physical transitions as the normal default

record absent_coordination_sequence = true and preserve the ASCR-06 disposition, ASCR-04 enforcement state, and any safety/control-path evidence

step 4: after available physical confirmations are received, record COORDINATION_COMPLETE with references to the ASCR-04 and safety/control evidence

timing: all ASCR-06 CSP response-scope handoffs to ASCR-04 in a coordination group must complete

within the Zone timing budget defined in ASCR-06-CSP §4.3; physical transition completion is governed separately by the applicable safety/control requirement

Section 5 - Digital twin implementation

5.1 Twin engine requirements

The simulation engine must satisfy the following implementation constraints. These are in addition to the fidelity requirements in ASCR-06 §3.

Determinism: given identical input state and identical policy model version, the simulation must produce identical output for every step. Any source of non-determinism (random number generators, timestamp-seeded operations, floating-point ordering) must be eliminated or controlled by the execution seed recorded in ASCR-07.

State isolation: each VerifyCommand invocation must run in an isolated simulation context. State from one invocation must not leak into another. Parallel invocations must not share mutable state.

Rollback: the twin must be able to restore the pre-invocation state after any simulation run. A simulation that modifies persistent twin state is non-compliant.

Fidelity validation: before go-live, the twin must achieve at least 98% aggregate fidelity across a commissioning corpus of at least 500 commands and at least 98% within every registered command class, with at least 50 observations per registered class and any larger sample required by the approved statistical method, per ASCR-06 §3.3 and the commissioning checklist §6.

5.2 Bootstrap implementation

Implementing the ASCR-06 §1.3.9 bootstrap state machine requires the following components:

BootstrapManager:

states:  BOOTSTRAP → INITIALIZED

BOOTSTRAP → BOOTSTRAP_FAILED (on timeout)

BOOTSTRAP entry conditions:

- system startup

- full restart after Runtime Integrity failure

- manual reset by OT Engineering Lead

BOOTSTRAP exit to INITIALIZED requires ALL of:

1. complete normalized state snapshot for all registered required OT variables received through the commissioned read-only telemetry path, such as OPC-UA, Modbus TCP, EtherNet/IP, or another approved source

2. one full telemetry cycle from all sensors in ASCR-03 §2 received

3. BOOTSTRAP_COMPLETE record written to ASCR-07 successfully

While in BOOTSTRAP state:

- all VerifyCommand requests rejected with E03_MISSING_STATE_REF

- ASCR-04 Layer 6 must treat E03 during bootstrap as TIMEOUT

- no drift checks executed (no baseline state to compare against)

BOOTSTRAP_FAILED:

- triggered if INITIALIZED not reached within bootstrap_timeout_seconds

- write BOOTSTRAP_FAILED event to ASCR-07

- alert OT Engineering Lead

- remain in reject-all state; no automatic retry

## 5.3 Policy model integration

The policy model used for look-ahead simulation steps 2 through N must be integrated with the following version management contract:

The policy model version must match the current AI-BOM entry before any VerifyCommand is processed. On startup, configuration load, or runtime, a stale or mismatched policy model, including the interval between an ASCR-10 authorized change and deployment of the corresponding authorized policy model, is S04_MODEL_VERSION_MISMATCH. The affected verifier instance enters reject-all, does not produce an enforcement verdict, and the ASCR-04 boundary resolves the condition as TIMEOUT until the authorized model version is restored and readiness validation succeeds.

Policy model updates must be deployed atomically. A partial update where some pods run the new version and others run the old version must not occur. Use Kubernetes RollingUpdate with maxUnavailable: 0 and validate model version consistency via readiness probe before routing traffic to updated pods.

When the policy model is unavailable and a heuristic fallback is used, the simulation_fidelity_mode field in ASCR-07 must be set to HEURISTIC_FALLBACK. A heuristic fallback for N greater than 1 must be flagged in ASCR-12 scorecard reporting.

Section 6 - Observability and operational runbooks

6.1 Required metrics

The following metrics must be exported from the ASCR-06 deployment and integrated into the operations monitoring stack. These metrics are required for ASCR-12 quarterly scorecard reporting.

| Metric Name | Type | Definition |
| --- | --- | --- |
| ascr06_verdict_total{verdict} | Counter | Total verdicts by type: PASS, FAIL, TIMEOUT |
| ascr06_verification_latency_ms | Histogram | End-to-end latency per VerifyCommand or VerifyCommandSet invocation; measured against the deployment-approved ASCR-06 hard-timeout allocation and any applicable SLO-I4 value recorded in executed ASCR-11 Schedule D. |
| ascr06_drift_value{system} | Gauge | Current drift value per OT system; warning level uses deployment-defined drift_warning_ratio from the Main operational-parameter ledger |
| ascr06_verify_queue_depth | Gauge | Current depth of pending VerifyCommand queue; drives HPA |
| ascr06_simulation_fidelity_mode_total{mode} | Counter | Verdicts by simulation_fidelity_mode: FULL_MODEL, HEURISTIC_FALLBACK, SINGLE_STEP |
| ascr06_safe_state_activations_total{system,class} | Counter | Confirmed Safe-State activations correlated to ASCR-06 non-PASS outcomes, sourced from ASCR-04/control-path evidence; ASCR-06 does not execute the transition |
| ascr06_integrity_events_total{type} | Counter | Runtime Integrity events by error code: I01, I02, I03 |
| ascr06_bootstrap_state{system} | Gauge | 1 = INITIALIZED, 0 = BOOTSTRAP or BOOTSTRAP_FAILED |
| ascr06_error_events_total{code} | Counter | Coded conditions by error code (E01-E04, S01-S09); I-codes are counted by ascr06_integrity_events_total |
| ascr06_evidence_relay_depth_records | Gauge | Current durable evidence-relay backlog in records; compared with evidence_relay_high_watermark_records and evidence_relay_buffer_capacity_records |
| ascr06_degraded_trust_total | Counter | Verdicts emitted with degraded_trust_flag = TRUE |
| ascr06_verification_mode_total{mode} | Counter | Verdicts by verification_mode: FULL_SEMANTIC, REDUCED_HARD_CONSTRAINT |
| ascr06_preauth_invalidations_total{reason} | Counter | PREAUTH_TOKEN_INVALIDATED events by reason: DRIFT_TRIGGERED, SAFE_STATE_TRIGGERED |

6.2 Alert thresholds

All alert and runbook values below that are named in the Main operational-parameter ledger are deployment-defined. A numeric Blueprint starting example does not become a production threshold unless it is explicitly adopted and commissioning-tested.

| Alert | Threshold | Recipient |
| --- | --- | --- |
| Drift approaching threshold | drift_value > drift_warning_ratio × configured drift limit | OT Engineering Lead |
| ASCR-06 hard-timeout breach | Invocation reaches the deployment-approved ASCR-06 hard-timeout allocation for its command class | OT Engineering Lead + AI/ML Engineering Lead |
| Any integrity event | ascr06_integrity_events_total increments | Security/IR Lead + OT Engineering Lead; immediate page |
| HEURISTIC_FALLBACK verdicts | heuristic_fallback_alert_ratio over heuristic_fallback_window_minutes | AI/ML Engineering Lead |
| Bootstrap failure | ascr06_bootstrap_state = 0 for > bootstrap_alert_seconds | OT Engineering Lead; immediate page |
| Confirmed Safe-State activation correlated to ASCR-06 outcome | Any ascr06_safe_state_activations_total increment | Security/IR Lead + ASCR-08 workflow trigger |
| Verification performance SLO breach | Observed P95/P99 exceeds the deployment-approved SLO-I4 or other adopted verification-performance target for the applicable command class over its configured measurement window | OT Engineering Lead + AI/ML Engineering Lead |
| Evidence relay high-watermark | ascr06_evidence_relay_depth_records > evidence_relay_high_watermark_records | Security/IR Lead + Platform Engineering |
| Evidence path capacity exhausted | ascr06_error_events_total{code="S09_EVIDENCE_PATH_CAPACITY_EXHAUSTED"} increments | Security/IR Lead + OT Engineering Lead; immediate page |

6.3 Operational runbook - drift breach response

Trigger: ascr06_drift_value{system} exceeds configured drift threshold

1. ASCR-06 automatically suspends verification for the affected system

- internal state is SUSPENDED and TIMEOUT is returned to ASCR-04 for affected commands; ASCR-04 applies the governed per-invocation HOLD/BLOCK. A safety/control handoff is invoked or maintained only where the applicable ASCR-03 Section 6 response definition and ASCR-04 enforcement rule require it; the deployment-approved safety/control function executes any physical response. Normal production actuation for the affected scope does not continue while the required verification state is unresolved.

2. Check OT telemetry acquisition: OT-side collector session health, one-way replication/data-diode health, receive-side freshness, and integrity status

3. If telemetry connectivity confirmed: allow automatic resynchronization

- monitor drift value; verification resumes when drift returns below threshold

Recovery observation requires degraded_trust_recovery_cycles consecutive valid cycles at the commissioned drift_check_interval_ms. Both values are governed through the Main operational-parameter ledger and ASCR-03 Section 5. The deployment documentation may show the derived wall-clock interval for operator convenience.

4. If telemetry connectivity lost: escalate to OT Engineering Lead

- do not manually reset drift counter

- restore telemetry path before verification resumes

5. If drift breach persists longer than degraded_operation_escalation_seconds: treat as degraded operation

- log OPERATIONAL_DEGRADATION event to ASCR-07

- notify ASCR-08 workflow for incident classification review

6. Write all steps to ASCR-07 as operational log entries

7. Before enforcement resumes, confirm successful resynchronization and state equivalence for the affected system.

8. If the drift TIMEOUT entered a governed Safe-State response, obtain the applicable authorization under the current ASCR-03 release model and complete the ASCR-08 §7.2 re-attestation prerequisite before release.

9. Record the release authorization, re-attestation evidence, and return-to-enforcement event in ASCR-07.

6.4 Operational runbook - runtime integrity event

CRITICAL

A Runtime Integrity event (I01, I02, I03) causes ASCR-06 to return the governed system-wide affected scope to ASCR-04 for the applicable ASCR-03 §2 scope. ASCR-04 applies the governed HOLD/BLOCK and invokes or maintains the deployment-approved safety/control handoff where required. The ASCR-06 verification environment and its integration trust assumptions are considered suspect until investigation and remediation are complete. Safe-State release authority is governed by the current ASCR-03 release model. ASCR-06 does not create a separate Tier 3 release rule.

An ordinary ASCR-07 write-availability failure without evidence of tampering is S03_LOG_WRITE_UNAVAILABLE and does not enter this Runtime Integrity runbook. S03 fails the affected invocation closed and maps to TIMEOUT while logging availability is restored. Escalate to I03 only when evidence establishes or cannot explain a log-chain integrity discontinuity.

Trigger: ascr06_integrity_events_total increments for any code

IMMEDIATE (within runtime_integrity_initial_response_target_seconds):

1. ASCR-06 returns system-wide affected scope to ASCR-04; ASCR-04 applies HOLD/BLOCK and the deployment-approved safety/control path executes any required physical response

2. Page Security/IR Lead and OT Engineering Lead

3. Preserve all ASCR-07 records - do not rotate, archive, or delete

4. Isolate T2 cluster from all non-investigation traffic

INVESTIGATION (within runtime_integrity_investigation_target_minutes):

5. Retrieve TEE attestation records from ASCR-07

6. For I01 (TEE failure): compare current attestation against last known-good

7. For I02 (state tamper): audit data diode logs for reverse-path attempts

8. For I03 (log-chain integrity failure): identify the break point and integrity evidence; do not classify an ordinary write-infrastructure outage as I03

if the condition is only write availability loss with no integrity evidence, reclassify as S03_LOG_WRITE_UNAVAILABLE and follow the fail-closed availability path

9. If deployment incident criteria are met, classify under the current ASCR-08 Intent-Locus-Authority taxonomy using the available evidence

if the required dimensions cannot be resolved from the available evidence, use ASCR-08 Section 2.6 Indeterminate handling

RELEASE (authority governed by current ASCR-03):

10. Complete ASCR-08 §7.2 re-attestation checklist for each system

11. Obtain the applicable ASCR-03 release authorization for each affected system or dependency group; ASCR-06 does not define a separate release tier

12. Record the authorized release decision using the HUMAN_OVERRIDE evidence record defined in ASCR-06-CSP §13. This record documents authorization; it does not bypass the governed release condition.

13. Restart T2 cluster pods to re-establish TEE attestation

14. Confirm BOOTSTRAP_COMPLETE event in ASCR-07 before resuming enforcement

Section 7 - Commissioning validation

Before go-live, vendors must complete the following implementation-level validation steps in addition to the ASCR-06 §6 commissioning checklist. These steps confirm that the deployment-level implementation satisfies the specification, not just that the specification was read.

| # | Validation Step | Pass Criterion |
| --- | --- | --- |
| 1 | Send VerifyCommand while twin is in BOOTSTRAP state | TIMEOUT returned with error_code = E03_MISSING_STATE_REF; no simulation executed; BOOTSTRAP condition and rejection recorded in ASCR-07 |
| 2 | Confirm BOOTSTRAP_COMPLETE event appears in ASCR-07 after first full sync | Event present with state_hash, timestamp, and data source identifiers |
| 3 | Inject a TEE attestation failure (pre-production environment only) | I01_TEE_FAILURE in ASCR-07; pod enters reject-all state; no verdicts accepted |
| 4 | Confirm NetworkPolicy blocks unauthorized verification callers and unauthorized egress | Direct topology: VerifyCommand from any source other than ascr04-gateway is refused. Proxy topology: only the commissioned ascr06-edge-stub controlled by ASCR-04 is additionally permitted, and the stub accepts requests exclusively from ASCR-04 while preserving origin identity/authorization context. Egress is limited to ASCR-07, the approved attestation verifier/proxy, and required infrastructure services such as DNS; no OT-zone egress exists. |
| 5 | Confirm ASCR-06 has no plant write path and Safe-State actuation is external to the verifier telemetry path | FAIL causes ASCR-04 HOLD/BLOCK. A safety/control handoff occurs only where the applicable ASCR-03 response definition requires it. Any physical-response evidence is produced by the external control path; diode evidence confirms no ASCR-06 reverse path. |
| 6 | Confirm ASCR-07 append-only: attempt to delete or overwrite a record | Operation rejected; no record modified; attempted operation logged as security event |
| 7 | Confirm policy model version check on startup | Deploy pod with mismatched model version; confirm S04_MODEL_VERSION_MISMATCH, reject-all state, and TIMEOUT mapping at ASCR-04 boundary |
| 8 | Confirm pre-auth token invalidated on drift breach | Issue a pre-auth token; raise drift above preauth_invalidation_drift_ratio × the governed drift threshold; confirm PREAUTH_TOKEN_INVALIDATED (DRIFT_TRIGGERED) is recorded in ASCR-07 and the next VerifyCommand presenting the token is treated as expired and fully re-simulated |
| 9 | Confirm ASCR-12 metrics are exported and accurate | Prometheus scrape returns all metrics in §6.1; spot-check verdicts against ASCR-07 records |
| 10 | Confirm cascade response-scope propagation to ASCR-04 for one dependent system | Trigger FAIL on the upstream system; confirm CSP delivers the downstream required response scope to ASCR-04 within the Zone timing budget per ASCR-06-CSP §4.3. Separately correlate the downstream physical Safe-State confirmation from the deployment-approved control/safety path. |
| 11 | Confirm ASCR-06 verifier cannot originate a connection into the OT telemetry zone | Attempt outbound TCP connections from ascr06-verifier to registered OT telemetry endpoints; all connections are blocked and no verifier-originated OT socket is permitted |
| 12 | Independent physical corroboration configured | Every physical-state variable designated in ASCR-03 as requiring independent corroboration has at least one approved source with documented independence domain. |
| 13 | Shared-dependency test | Confirm that compromise of the assertion-producing path cannot modify both the assertion and all designated corroborating evidence through one shared controllable dependency. |
| 14 | Missing corroboration behavior | Disable or stale a required corroborating source; ASCR-06 returns TIMEOUT / S07_PHYSICAL_CORROBORATION_UNAVAILABLE; no PASS. |
| 15 | Corroboration conflict behavior | Present materially conflicting primary and independent physical observations; ASCR-06 returns TIMEOUT / S08_PHYSICAL_CORROBORATION_CONFLICT; affected-system context is returned to ASCR-04; Safe-State response scope is exercised only where the current ASCR-03 response definition requires it. |
| 16 | Coordinated-set path | Submit a configured coordinated command set whose members are individually plausible but whose combined projected state violates an aggregate constraint. Confirm VerifyCommandSet(v1) produces a set-level FAIL and no member command is released independently. |
| 17 | Coordination lineage | Confirm every member command retains its originating cycle_id, trace identifier, and ASCR-07 lineage reference and that the aggregate result carries one coordination_id. |
| 18 | Evidence relay high-watermark | Drive the durable relay across evidence_relay_high_watermark_records; alert is produced while ordered durable persistence continues with no record loss. |
| 19 | Primary evidence-store outage with capacity remaining | Disconnect the primary ASCR-07 destination while commissioned relay capacity remains; required evidence is buffered durably and replayed in original order after recovery. |
| 20 | Approved spillover behavior | Where evidence_relay_spillover_ref is configured, force local relay spillover; confirm no loss, duplication, or reordering and that the spillover store preserves required integrity/access controls. |
| 21 | Evidence capacity exhaustion | Exhaust all approved durable persistence capacity; ASCR-06 enters EVIDENCE_PATH_SUSPENDED, returns S09_EVIDENCE_PATH_CAPACITY_EXHAUSTED, no enforcement-grade PASS is produced, and the affected invocation maps to TIMEOUT at ASCR-04. |
| 22 | Evidence-path recovery and replay | Restore durable persistence; confirm the retained backlog is replayed in original order without loss/duplication and integrity is verified before normal PASS production resumes. |
| 23 | Forced overflow protection | Attempt to exceed commissioned relay capacity; confirm existing required evidence is never overwritten or silently discarded. Approved spillover is used if available; otherwise S09/TIMEOUT applies. |
| 24 | Confirm pre-auth token invalidated on Safe-State activation | Supply a confirmed Safe-State activation event for the target system; confirm PREAUTH_TOKEN_INVALIDATED (SAFE_STATE_TRIGGERED) is recorded in ASCR-07 and the next VerifyCommand presenting the token returns FAIL with failure_reason.type = PREAUTH_INVALIDATED |

Section 8 - Staged cutover, abort, and rollback

Production activation must proceed through staged enforcement rather than an all-at-once cutover. The minimum progression is: shadow/non-enforcing -> limited command-class enforcement -> progressive command-class enforcement -> full approved scope. Each stage requires objective entry evidence, a minimum observation/dwell criterion, an exit criterion, named approval authority, fail/TIMEOUT performance review, and an ASCR-07 cutover record.

Automatic abort conditions

Any Runtime Integrity event.

Regression of an unconditional TVA qualification fixture.

Breach of the deployment-approved ASCR-06 hard-timeout allocation or Safe-State response requirement.

Failure of required evidence logging, attestation, or model-version readiness controls.

On any abort condition, the active cutover stage stops immediately and ASCR-04 is restored to the previously authorized enforcement configuration. The rollback target, rollback procedure, and compensating controls must be documented before the stage begins.

Rollback requirements

The prior ASCR-04 configuration and routing state must be retained in a restorable, version-pinned form before each cutover stage.

Rollback authority must be assigned to the named role approved for the cutover stage. Runtime Integrity conditions retain the current release authority defined by ASCR-03; ASCR-06 does not define or elevate the release tier.

Where rollback temporarily reduces ASCR-06 coverage, the approved compensating controls and affected command classes must be identified in the cutover record.

Every cutover, abort, rollback, approval, compensating-control activation, and return to progressive enforcement must be recorded in ASCR-07 with timestamps and configuration identifiers.

Progression to the next stage is prohibited until the current stage exit criteria and required evidence are complete.