# ASCR-08 Operational Extension 01

Operational Forms and Registers

Companion to the ASCR-08 Agentic Incident Response Playbook

Version 1.0 — June 2026

| File ID | ASCR-08-OE01-Operational-Forms-and-Registers |
| --- | --- |
| Format | .docx |
| Version | 1.0 — June 2026 |
| Consolidates | CF1 Role Assignment Register; CF2 Incident Declaration and Re-Attestation Form; CF4 IEC 61511 SIF Safe-State Exception Register; CF6 Quick Reference Card. CF3 and CF5 technical registry/source content is carried in OE02/OE03; those legacy identifiers are not omitted. |
| Type | Human-executed operational forms, registers, and reference material |
| Precedence | Subordinate to the ASCR-08 main playbook. Where any statement here conflicts with the main playbook, the main playbook governs. |

Scope, precedence, version, and change control

This Operational Extension bundles the four human-executed ASCR-08 instruments so that a response team has the role register, incident form, SIS exception register, and quick reference in one controlled document. Each instrument is reproduced as a numbered part and retains its legacy CF identifier for traceability.

Scope

Parts 1 through 4 are operational instruments that named individuals complete, sign, or consult during the pre-activation, active-incident, and recovery phases of an ASCR-08 response. Part 4 is a navigation aid only and carries no authoritative content. Throughout this document, ASOC means the Agentic Security Operations Centre defined in the main playbook Section 2.1.

In the proper artifact title, “Playbook” identifies the form of the practitioner template. ASCR-08 and this Operational Extension are reusable Blueprint templates and reference material; they are not a turnkey incident-response runbook, executable response product, autonomous enforcement system, or replacement for an organization's existing incident-response procedures and tooling.

Precedence

The ASCR-08 main playbook is the authoritative source. Where any procedure, threshold, or definition in this document appears to conflict with the main playbook, the main playbook governs and the conflict must be reported for correction. Within this document, Part 3 records the approved SIF safe state / final-element safe position and incident-response implications for SIS-governed final elements. Those entries must be consistent with the deployment-approved physical-system Safe-State or safe-interruption definition established through ASCR-03 Section 6 and the applicable process-safety engineering basis. Part 3 does not override a universal ASCR-08 Safe-State because ASCR-08 defines no universal physical Safe-State.

Version and change control

This document carries version 1.0 — June 2026 and versions in lockstep with the ASCR-08 main playbook. When any field, table, or instruction changes, issue a new version of the whole document; do not overwrite prior versions, and retain all versions for audit traceability. Each part also states its own review cadence, which continues to apply.

Warning: This document is operationally mandatory where its parts are marked as such. Do not distribute without the parent ASCR-08 playbook.

Before you operationalize this instrument

This instrument is a jurisdiction-neutral starting template. Regulatory and standards references in this release were re-verified through 27 September 2026 for publication readiness; the artifact version remains Version 1.0 — June 2026. Numeric thresholds, deployment parameters, and legal applicability must still be re-verified or calibrated before reliance. See Chapter 10 of the book, The Autonomous Supply Chain Resilience Blueprint, for the Point-in-Time and Jurisdictional Scope Statement and Localization Methodology.

Specific to this document, verify the following before relying on it:

Regulatory deadline currency (re-verify at time of use). The regulatory notification material in Part 2 A-11 and Part 4 maps screening conditions to NIS2 Article 23, EU AI Act Articles 26(5), 73, and 75(1a), GDPR Article 33, DORA Article 19, and Cyber Resilience Act Article 14 where applicable. Under Regulation (EU) 2026/1744, the relevant EU AI Act high-risk regime applies from 2 December 2027 for Article 6(2)/Annex III systems and from 2 August 2028 for Article 6(1)/Annex I systems, subject to transitional and system-specific applicability. CRA Article 14 reporting obligations apply from 11 September 2026 where the organization is the manufacturer of an in-scope product with digital elements and the statutory scope, role, and reporting conditions are met. Statutory clocks run from the trigger defined by the applicable legal regime, not from ASCR-08 activation or declaration. Re-verify current deadlines, role allocation, system classification, national implementation, and reporting channels before reliance.

Standards-clause currency. IEC 61511-1:2016+AMD1:2017, IEC 61511-2:2016, IEC 61511-3:2016, and IEC 61508-1:2010 citations in Part 3 should be re-verified against the edition in force at your site at time of use.

Jurisdiction-bound retention periods. Part 2 does not impose a universal incident-evidence retention period. Configure retention to satisfy the applicable legal and contractual obligations, detection and audit lookback windows, investigation and rollback needs, preservation orders, and litigation holds. Part 3 process-safety records remain subject to the governing functional-safety, machine-safety, site, and legal retention requirements.

Calibrated detection parameters. OE03 contains the canonical vendor-neutral detection specifications with [CALIBRATE] placeholders; OE02 contains the human-readable audit view and the Approved Calibration Record for deployment-approved values and profiles. ABA-01 and ABA-02 use deployment-approved sigma thresholds and persistence values; 2.0σ with three consecutive planning cycles and 1.0σ with 60 seconds are commissioning starting points, not universal production defaults. ABA-03 uses a deployment-calibrated corroboration profile rather than a universal low-sigma threshold; RSD specifications use site-calibrated thresholds, lookback windows, persistence periods, and the deployment-approved daily-completeness profile. Validate translated rules against the commissioning baseline before production activation. Deployment-approved values and profile identifiers are recorded in OE02 Calibration & Validation > Approved Calibration Record; OE01 carries the applicable profile/reference in Deployment response configuration. ASCR-09 governs TVA procedure identifiers, execution environments, cadences, and event triggers; this document does not create a standing live-production TVA requirement or a universal 90-day cadence for capability-specific TVA procedures.

Part 1. Role assignment register (CF1)

Document information

| Document ID | ASCR-08-CF1 |
| --- | --- |
| Type | Pre-activation mandatory completion form |
| Status | DRAFT - must be completed and CISO-attested before ASCR-08 playbook activation |
| Linked playbook sections | Section 2.4, Section 7.3, Section 2.3 |
| Version | 1.0 — June 2026 |
| Review cadence | Annual; immediately following any personnel change in an assigned role; immediately following any organizational restructuring affecting the roles below |

## Purpose

ASCR-08 requires the current ASCR-03 authority mapping for the Incident Commander, Physical System Authority, Regulatory Authority, and applicable Section 4.2 circuit-breaker release authorities to be recorded before any incident declaration. This register also records operational support roles used by ASCR-08, including convergence-domain safety, AI/ML, supply-chain, ASOC, evidence, and process-safety functions. Supporting-role assignments do not alter ASCR-03 decision authority unless the Charter is formally amended. An unresolved required assignment at declaration time is a pre-incident gap that can produce an unauthorized release or an incomplete response authority chain.

This register must be completed, signed, and physically or digitally co-located with the ASCR-08 playbook before the playbook is considered active. An ASCR-08 playbook without a completed and current version of this register is not operationally active regardless of other infrastructure readiness.

## Completion instructions

Complete every field. "TBD" is not an acceptable entry in any field. If a role is not yet filled, document the interim assignment explicitly.

Every named individual must confirm their assignment in writing (signature block at end of this part).

Every named individual must have read ASCR-08 in full before signing.

The CISO attestation block at the end of this part must be completed before the playbook is considered active.

Store a copy of this completed register in the ASOC operational documentation repository and in the ASCR-07 evidence management system as a baseline operational record.

When any field changes, issue a new version of this register. Do not overwrite prior versions. Retain all versions for audit traceability.

Deployment identification

Enter the deployment context this register governs.

| Field | Value |
| --- | --- |
| Deployment Name / Site ID |  |
| Physical Location |  |
| Agent System(s) Covered |  |
| ASCR-03 Document Reference (version) |  |
| ASCR-07 System Identifier |  |
| Register Version |  |
| Effective Date |  |
| Supersedes Version |  |

Deployment response configuration

Complete these deployment parameters before activation. Every value must identify its authoritative source; no blank value is treated as a default.

| Parameter | Configured value / authoritative source |
| --- | --- |
| IC_ACK_TARGET | Deployment value / profile: ____________________ Owner: ____________________ Parameter meaning: Incident Commander acknowledgment/handoff target / source Authoritative source: ASCR-08 authority model / deployment response plan Approval date: ____________________ Evidence/reference ID: ____________________ |
| ASOC_NOTIFY_TARGET | Deployment value / profile: ____________________ Owner: ____________________ Parameter meaning: ASOC Lead Analyst notification target from ASOC activation / source Authoritative source: ASCR-08 incident-response plan Approval date: ____________________ Evidence/reference ID: ____________________ |
| SAFETY_NOTIFY_TARGET | Deployment value / profile: ____________________ Owner: ____________________ Parameter meaning: Convergence-Domain Safety Lead notification target / anchor / source Authoritative source: ASCR-08 Section 2.3 + local safety basis Approval date: ____________________ Evidence/reference ID: ____________________ |
| REG_NOTIFY_TARGET | Deployment value / profile: ____________________ Owner: ____________________ Parameter meaning: Regulatory escalation preparation target / anchor / source Authoritative source: ASCR-08 Section 4 + applicable legal basis Approval date: ____________________ Evidence/reference ID: ____________________ |
| AIML_NOTIFY_TARGET | Deployment value / profile: ____________________ Owner: ____________________ Parameter meaning: AI/ML Engineering Lead notification target when Type-S conditions are suspected / anchor / source Authoritative source: ASCR-08 Type-S response mapping Approval date: ____________________ Evidence/reference ID: ____________________ |
| OT_NOTIFY_TARGET | Deployment value / profile: ____________________ Owner: ____________________ Parameter meaning: OT Engineering Lead notification target when Type-X or physical-control conditions are suspected / anchor / source Authoritative source: ASCR-08 Type-X / physical-control response mapping Approval date: ____________________ Evidence/reference ID: ____________________ |
| SUPPLY_NOTIFY_TARGET | Deployment value / profile: ____________________ Owner: ____________________ Parameter meaning: Supply Chain notification target when hardware/vendor/provenance evidence is implicated / source Authoritative source: ASCR-08 / ASCR-11 / ASCR-17 routing Approval date: ____________________ Evidence/reference ID: ____________________ |
| CISO_NOTIFY_TARGET | Deployment value / profile: ____________________ Owner: ____________________ Parameter meaning: CISO notification target for applicable ASCR-11 Tier 1 or legal-escalation conditions / anchor / source Authoritative source: ASCR-11 governance / legal escalation basis Approval date: ____________________ Evidence/reference ID: ____________________ |
| CLASSIFICATION_TARGET | Deployment value / profile: ____________________ Owner: ____________________ Parameter meaning: Preliminary classification target measured from ASOC activation or later condition emergence, as applicable Authoritative source: ASCR-08 Section 2.3 + local approval Approval date: ____________________ Evidence/reference ID: ____________________ |
| CONTAINMENT_TARGET | Deployment value / profile: ____________________ Owner: ____________________ Parameter meaning: Classification-to-containment target by asset class / source Authoritative source: ASCR-08 containment governance / local safety basis Approval date: ____________________ Evidence/reference ID: ____________________ |
| EVIDENCE_RETENTION | Deployment value / profile: ____________________ Owner: ____________________ Parameter meaning: Evidence/log retention and lookback window / source Authoritative source: Applicable law, records policy, operational need Approval date: ____________________ Evidence/reference ID: ____________________ |
| REAUTH_OBSERVATION | Deployment value / profile: ____________________ Owner: ____________________ Parameter meaning: Supervised-operation observation period before full autonomy / source Authoritative source: ASCR-08 / ASCR-10 validation / ASCR-11 governance Approval date: ____________________ Evidence/reference ID: ____________________ |
| LEGAL_CLOCK_SOURCE | Deployment value / profile: ____________________ Owner: ____________________ Parameter meaning: Applicable statutory awareness/trigger definitions and legal owner / source Authoritative source: Applicable governing law and legal-owner determination Approval date: ____________________ Evidence/reference ID: ____________________ |
| ABA_BASELINE_WINDOW | Value/profile reference: ____________________ Owner: ____________________ Authoritative source: OE02 Calibration & Validation > Approved Calibration Record / commissioning evidence Approval date: ____________________ Evidence/reference ID: ____________________ |
| MIN_VALID_ANALOG_SAMPLE_COUNT | Value/profile reference: ____________________ Owner: ____________________ Parameter meaning: Minimum valid analog sample count - ABA only Authoritative source: measurement profile + OE02 Calibration & Validation > Approved Calibration Record Approval date: ____________________ Evidence/reference ID: ____________________ |
| ABA_RSD_THRESHOLD_PROFILE | Value/profile reference: ____________________ Owner: ____________________ Authoritative source: OE02 Calibration & Validation > Approved Calibration Record Approval date: ____________________ Evidence/reference ID: ____________________ |
| RSD_PERSISTENCE_LOOKBACK_PROFILE | Value/profile reference: ____________________ Owner: ____________________ Authoritative source: OE02 Calibration & Validation > Approved Calibration Record Approval date: ____________________ Evidence/reference ID: ____________________ |
| RSD_DAILY_COMPLETENESS_PROFILE | Value/profile reference: ____________________ Owner: ____________________ Parameter meaning: Required source coverage / event count or observation completeness for one qualifying RSD day; day-boundary convention; missing-data treatment; denominator where applicable Authoritative source: OE02 Calibration & Validation > Approved Calibration Record Approval date: ____________________ Evidence/reference ID: ____________________ |
| SOAR_CORRELATION_RESET_PROFILE | Value/profile reference: ____________________ Owner: ____________________ Authoritative source: OE02 Calibration & Validation > Approved Calibration Record + OE03 evaluation contract Approval date: ____________________ Evidence/reference ID: ____________________ |
| SOFT_ALERT_PROFILE_REF | Owning detection/telemetry profile ID: ____________________ Monitored signal: ____________________ Threshold / threshold reference: ____________________ Unit: ____________________ Scope: ____________________ Owner: ____________________ Authoritative source: ____________________ Approval date: ____________________ Evidence/reference ID: ____________________ |
| CONTROL_REVIEW_CADENCE_PROFILE | Authoritative record: Deployment Response Annex, row CONTROL_REVIEW_CADENCE_PROFILE. Do not duplicate the value in this table. |
| POST_INCIDENT_REVIEW_TARGET | Value/profile reference: ____________________ Owner: ____________________ Authoritative source: ASCR-08 governance / local approval Approval date: ____________________ Evidence/reference ID: ____________________ |
| ASCR15_CAMPAIGN_CONSULT_TARGET | Value/profile reference: ____________________ Owner: ____________________ Authoritative source: ASCR-08 incident-response governance Approval date: ____________________ Evidence/reference ID: ____________________ |
| POLICY_ROLLBACK_PROFILE | Authoritative record: Deployment Response Annex, row POLICY_ROLLBACK_PROFILE. Do not duplicate the value in this table. |
| HBOM_AUDIT_PROFILE | Authoritative record: Deployment Response Annex, row HBOM_AUDIT_PROFILE. Do not duplicate the value in this table. |
| VENDOR_RESPONSE_SLA | Value/profile reference: ____________________ Owner: ____________________ Authoritative source: executed ASCR-11 contract Approval date: ____________________ Evidence/reference ID: ____________________ |
| FALSE_POSITIVE_ACCEPTANCE_CRITERION | Value/profile reference: ____________________ Owner: ____________________ Authoritative source: ASCR-09 validation plan + OE02/OE03 calibration/validation Approval date: ____________________ Evidence/reference ID: ____________________ |

Notification-target completeness rule. The eight internal coordination targets used by the Notification sequence on ASOC activation are IC_ACK_TARGET, ASOC_NOTIFY_TARGET, REG_NOTIFY_TARGET, SAFETY_NOTIFY_TARGET, AIML_NOTIFY_TARGET, OT_NOTIFY_TARGET, SUPPLY_NOTIFY_TARGET, and CISO_NOTIFY_TARGET; all applicable targets must be configured before activation.

Deployment Safe-Interruption Profile

Repeat this profile block for every in-scope asset class or system. The profile is approved before activation and governs the sequence required to reach a safe condition without creating a hazardous intermediate state. Emergency protective action does not wait for ad hoc concurrence; responders follow the pre-approved profile and record deviations.

| Profile Field | Deployment Value |
| --- | --- |
| Asset class / system |  |
| Hazardous intermediate state(s) |  |
| Validated Safe-State or safe interruption function |  |
| Required controlled motion/actuation to reach safe condition |  |
| Applicable IEC 60204-1 stop category, where applicable |  |
| Governing machine / robot / functional-safety standard |  |
| Stopping-performance evidence and safeguard-distance basis, where applicable |  |
| Stored energy/load condition and safe interruption point |  |
| Authorized manual/teleop fallback and recovery/restart method |  |
| Responsible safety role and OT / Safety Engineering approval |  |

Deployment Response Annex

Complete these implementation and governance records before activation where applicable. Every configured value must identify its owner, authoritative source, approval evidence, and evidence/reference ID. A blank applicable field is an activation gap.

| Deployment Response Annex field | Required deployment record |
| --- | --- |
| KQP_TKQ_ENFORCEMENT_PROFILE | Applicable ASCR-04 Section 3.6 configuration reference; asset/scope; approved kinetic quantities or thresholds; enforcement primitive; commissioned timing; owner; evidence ID |
| HOLD_ENFORCEMENT_TARGET | Start event; end event defined as ASCR-04 enforcement confirmation; target; asset class; source; owner; commissioning evidence |
| CONVERGENCE_DECLARATION_TARGET | Target; ASOC-activation or condition-emergence anchor; safety/legal basis; owner; approval evidence |
| CHECKPOINT_RETENTION_WINDOW | Approved retention window; source sensor-audit/lookback/persistence intervals; investigation/rollback margin; ASCR-10 reference |
| CONTROL_REVIEW_CADENCE_PROFILE | Adopted Tier 1 and Tier 2 sensor-audit cadence; source; owner |
| POLICY_ROLLBACK_PROFILE | Reward-stability threshold; observation period; rollback-escalation period; risk-acceptance review cadence |
| HBOM_AUDIT_PROFILE | Adopted Class A and Class B periodic audit cadence |
| HBOM_TRIGGERED_AUDIT_PROFILE | Notification target; auditor assignment/start target; completion targets by component class |
| FALSE_POSITIVE_ACCEPTANCE_CRITERION | Authoritative record: Deployment response configuration, row FALSE_POSITIVE_ACCEPTANCE_CRITERION, with validation detail maintained in OE02 Calibration & Validation. Do not duplicate the value in this annex. |

Section 1: Incident commander

The Incident Commander named in this register holds the ASCR-08 incident-command role. For a convergence-domain incident, ASCR-03 Section 7.2 assigns the Security/IR Lead as Incident Commander. For an incident that has not entered the convergence domain, use the organization-designated Incident Commander under the applicable incident-response governance and record that assignment here. The Incident Commander does not acquire physical-system release authority by holding the incident-command role.

| Field | Primary | Backup |
| --- | --- | --- |
| Name |  |  |
| Title / Role |  |  |
| Department |  |  |
| 24x7 Mobile (direct) |  |  |
| 24x7 Pager / Escalation Path |  |  |
| Email |  |  |
| Physical Location (primary) |  |  |
| Maximum Response Time to ASOC (minutes) |  |  |
| Confirmed reading of ASCR-08 | Yes / No | Yes / No |
| Date of Last ASCR-09 Exercise Participation |  |  |

Activation condition

The Primary Incident Commander must acknowledge active command promptly after ASOC activation. Record the acknowledgment timestamp. If the Primary has not acknowledged within the deployment target recorded in the Deployment response configuration, the Backup assumes active command and records the handoff. Emergency protective action and evidence preservation do not wait for this acknowledgment or handoff.

Section 2: Circuit-breaker release authority mapping

This section records the named holders of the applicable ASCR-03 Section 4.2 circuit-breaker release authority or authorities; it does not create a separate ASCR-08 release-authority role. Use the Security/IR and OT / Physical-system authority columns below to identify the applicable role holders. For convergence-domain incidents, both authorities required by ASCR-03 Section 4.2 must approve release. Runtime security holds are enforced through ASCR-04 under governed conditions; ASCR-06 supplies the verification outcome where applicable and does not independently own hold enforcement or release authority.

| Field | Security/IR authority | OT / Physical-system authority |
| --- | --- | --- |
| Name |  |  |
| Title / Role |  |  |
| Department |  |  |
| 24x7 Mobile (direct) |  |  |
| 24x7 Pager / Escalation Path |  |  |
| Email |  |  |
| Confirmed reading of ASCR-08 | Yes / No | Yes / No |
| Authorization Scope | All failure codes / Type-A only / Type-S only / Type-X only | All failure codes / Type-A only / Type-S only / Type-X only |

Notes:  ______________________________

Section 3: Convergence-domain safety lead

| Field | Primary | Backup |
| --- | --- | --- |
| Name |  |  |
| Title / Role |  |  |
| Discipline (Safety Engineering / Process Safety / OT Safety) |  |  |
| 24x7 Mobile (direct) |  |  |
| 24x7 Pager / Escalation Path |  |  |
| Email |  |  |
| Functional-safety qualification / competency evidence | Yes / No | Yes / No |
| Site-specific IEC 61511 SIF Safe-State Register custodian | Yes / No | Yes / No |
| Confirmed reading of ASCR-08 | Yes / No | Yes / No |

Section 4: AI/ML engineering lead

| Field | Primary | Backup |
| --- | --- | --- |
| Name |  |  |
| Title / Role |  |  |
| Department |  |  |
| 24x7 Mobile (direct) |  |  |
| 24x7 Pager / Escalation Path |  |  |
| Email |  |  |
| ASCR-10 Shadow Mode Authorization Authority | Yes / No | Yes / No |
| Policy Rollback Authorization Authority (Tier 2 under ASCR-03) | Yes / No | Yes / No |
| Confirmed reading of ASCR-08 | Yes / No | Yes / No |

Section 5: OT engineering lead

| Field | Primary | Backup |
| --- | --- | --- |
| Name |  |  |
| Title / Role |  |  |
| Department |  |  |
| 24x7 Mobile (direct) |  |  |
| 24x7 Pager / Escalation Path |  |  |
| Email |  |  |
| SIS Re-Engagement Authorization Authority | Yes / No | Yes / No |
| TSN / Industrial Network Architecture Authority | Yes / No | Yes / No |
| Confirmed reading of ASCR-08 | Yes / No | Yes / No |

Section 6: Supply chain operations lead

| Field | Primary | Backup |
| --- | --- | --- |
| Name |  |  |
| Title / Role |  |  |
| Department |  |  |
| 24x7 Mobile (direct) |  |  |
| 24x7 Pager / Escalation Path |  |  |
| Email |  |  |
| ASCR-11 Vendor Notification Authority | Yes / No | Yes / No |
| H-BOM Custodian | Yes / No | Yes / No |
| Confirmed reading of ASCR-08 | Yes / No | Yes / No |

Section 7: Regulatory compliance officer

| Field | Primary | Backup |
| --- | --- | --- |
| Name |  |  |
| Title / Role |  |  |
| Department |  |  |
| 24x7 Mobile (direct) |  |  |
| Regulatory Authority Contact (NIS2 / national CSIRT) |  |  |
| Regulatory Authority Contact (EU AI Act / market surveillance) |  |  |
| Regulatory Authority Contact (DORA / financial supervisor, if applicable) |  |  |
| Confirmed reading of ASCR-08 | Yes / No | Yes / No |
| Regulatory Authority Contact - GDPR supervisory authority, if applicable |  |  |
| CRA reporting channel - single reporting platform / designated CSIRT coordinator, if applicable |  |  |

Section 8: ASOC lead analyst

| Field | Primary | Backup |
| --- | --- | --- |
| Name |  |  |
| Title / Role |  |  |
| Department |  |  |
| 24x7 ASOC Duty Rotation Schedule Reference |  |  |
| ASCR-07 System Access Confirmed | Yes / No | Yes / No |
| Governed hold initiation authority (ASCR-04 enforcement path) | Yes / No | Yes / No |
| Confirmed reading of ASCR-08 | Yes / No | Yes / No |
| Most recent applicable ASCR-09 exercise / TVA validation evidence reference |  |  |

Section 9: Evidence custodian

| Field | Primary | Backup |
| --- | --- | --- |
| Name |  |  |
| Title / Role |  |  |
| Department |  |  |
| Direct Contact (business hours) |  |  |
| Direct Contact (out of hours) |  |  |
| ASCR-07 Evidence Repository Write Access Confirmed | Yes / No | Yes / No |
| Confirmed reading of ASCR-08 | Yes / No | Yes / No |

Section 10: Process safety engineer (if applicable)

| Field | Primary | Backup |
| --- | --- | --- |
| Name |  |  |
| Title / Role |  |  |
| Department |  |  |
| 24x7 Mobile (direct) |  |  |
| Functional-safety qualification / competency evidence | Yes / No - Certificate Ref: | Yes / No - Certificate Ref: |
| IEC 61511 SIF Safe-State Exception Register version on file |  |  |
| Confirmed reading of ASCR-08 | Yes / No | Yes / No |

Supporting operational contacts

These are supporting operational contacts and do not acquire ASCR-03 release, physical-system, or regulatory authority through this register.

| Role | Primary | Backup | Contact method | Evidence / authority reference |
| --- | --- | --- | --- | --- |
| ASCR-09 TVA Coordinator / Exercise Lead |  |  |  | ASCR-09 evidence location: ____________________ |
| Governance / Risk Lead |  |  |  | Governance/risk authority reference: ____________________ |

Notification sequence on ASOC activation

Use the sequence below with the deployment-configured targets and anchors. Statutory clocks are tracked separately from these internal coordination targets.

| Sequence | Role | Primary Name | Contact Method | Deployment target and anchor |
| --- | --- | --- | --- | --- |
| 1 | Incident Commander |  |  | IC_ACK_TARGET / ASOC activation |
| 2 | ASOC Lead Analyst (if not the activating analyst) |  |  | ASOC_NOTIFY_TARGET / ASOC activation |
| 3 | Regulatory Compliance Officer (all incidents - screen against main playbook Section 4.1) |  |  | REG_NOTIFY_TARGET / ASOC activation; repeat screening at every re-classification |
| 4 | Convergence-Domain Safety Lead (if convergence-domain conditions present) |  |  | SAFETY_NOTIFY_TARGET / ASOC activation or condition emergence |
| 5 | AI/ML Engineering Lead (if Type-S suspected) |  |  | AIML_NOTIFY_TARGET / ASOC activation when Type-S suspected |
| 6 | OT Engineering Lead (if Type-X suspected or SIS engaged) |  |  | OT_NOTIFY_TARGET / ASOC activation when Type-X or physical-control issue suspected |
| 7 | Supply Chain Operations Lead (if vendor component implicated) |  |  | SUPPLY_NOTIFY_TARGET / vendor, hardware, firmware or provenance implication |
| 8 | CISO (for all Tier 1 incidents per ASCR-11) |  |  | CISO_NOTIFY_TARGET / incident or legal escalation trigger |

Named individual acknowledgment signatures

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Incident Commander (Primary) |  |  |  |
| Incident Commander (Backup) |  |  |  |
| ASCR-03 Section 4.2 Security/IR release authority |  |  |  |
| ASCR-03 Section 4.2 OT / Physical-system release authority |  |  |  |
| Convergence-Domain Safety Lead (Primary) |  |  |  |
| Convergence-Domain Safety Lead (Backup) |  |  |  |
| AI/ML Engineering Lead (Primary) |  |  |  |
| AI/ML Engineering Lead (Backup) |  |  |  |
| OT Engineering Lead (Primary) |  |  |  |
| OT Engineering Lead (Backup) |  |  |  |
| Supply Chain Operations Lead (Primary) |  |  |  |
| Supply Chain Operations Lead (Backup) |  |  |  |
| Regulatory Compliance Officer (Primary) |  |  |  |
| Regulatory Compliance Officer (Backup) |  |  |  |
| ASOC Lead Analyst (Primary) |  |  |  |
| ASOC Lead Analyst (Backup) |  |  |  |
| Evidence Custodian (Primary) |  |  |  |
| Evidence Custodian (Backup) |  |  |  |
| Process Safety Engineer (Primary, if applicable) |  |  |  |
| Process Safety Engineer (Backup, if applicable) |  |  |  |

CISO attestation

I attest that:

- All role assignments above have been reviewed and confirmed as of the effective date of this register.

- All named primary and backup individuals have accepted their assignments and confirmed their qualifications.

- The ASCR-08 playbook is operationally active for the deployment identified at the top of this part as of the effective date below.

- This register will be reviewed and re-attested annually and immediately upon any role assignment change.

| Field | Value |
| --- | --- |
| CISO Name |  |
| CISO Signature |  |
| Date of Attestation |  |
| Register Version Attested |  |
| Next Scheduled Review Date |  |

Note: OE01 Part 1 (legacy CF1) is operationally mandatory. Do not distribute without the parent playbook.

Part 2. Incident declaration and re-attestation form (CF2)

Document information

| Document ID | ASCR-08-CF2 |
| --- | --- |
| Type | Operational incident record - mandatory completion during active incident |
| Linked playbook sections | Sections 2.1, 2.5, 2.6, 3.1, 3.2, 4.1, 7.0, and 7.2 |
| Version | 1.0 — June 2026 |
| Retention | Deployment-configured retention based on legal, contractual, detection/lookback, investigation, rollback, preservation, and litigation-hold requirements; record the governing basis in the Incident Header. |

Instructions for use

This form is completed in two parts during every incident classified under ASCR-08:

Part A and the Runtime Containment Record begin at ASOC activation and run in parallel with protective containment. Use the deployment response targets in Part 1; do not delay emergency protective action to complete evidence fields. Missing evidence is recorded as an evidentiary limitation, not reconstructed from memory later.

Part B is completed before Safe-State release is authorized. It must be presented complete to the applicable ASCR-03 Section 4.2 circuit-breaker release authority or authorities recorded in Part 1 (CF1) before any release decision is made. For convergence-domain incidents, both the Security/IR and OT / Physical-system release authorities must approve release. An incomplete Part B checklist is a hold continuation.

Print this form and complete it in ink during the incident, or complete it digitally in a write-once incident management system. Do not complete it retrospectively from memory - each item must be timestamped at the time of completion.

One form is used per incident. If the Safe-State scope covers multiple actuation domains, Part B Item B-7 (Domain Scoping) requires a separate completion for each domain.

## Incident header

| Field | Value |
| --- | --- |
| Incident ID | INC- |
| ASOC Activation Timestamp (UTC) |  |
| Activating Analyst Name and Role |  |
| Incident Commander Name (from CF1 / Part 1) |  |
| Incident Commander Notified Timestamp (UTC) |  |
| Deployment / Site ID |  |
| Agent System(s) Involved |  |
| ASCR-07 Merkle Chain Root Hash (incident window) |  |
| Initial Failure Code (from Section 1.2) |  |
| Preliminary Intent Classification | Type-A / Type-S / Type-X / Indeterminate |
| Physical Impact Action Occurred | Yes / No / Unknown |
| Convergence-Domain Declaration | Yes / No / Pending |
| Convergence-Domain Declaration Timestamp (if Yes) |  |
| Incident Commander Active-Command Acknowledgment Timestamp (UTC) |  |
| Evidence Retention / Legal Hold Basis |  |
| EU AI Act high-risk reporting regime in force for affected system at incident time | Yes / No / Pending legal determination |
| High-Risk Classification Basis | Article 6(2)/Annex III / Article 6(1)/Annex I / Other / Not applicable |
| Applicable high-risk application date / transitional basis |  |
| Organization Role for Affected AI System | Provider / Deployer / Importer / Distributor / Product Manufacturer / Other |
| Serious-incident reporting destination | Member State market-surveillance authority / AI Office under Article 75(1a) / Provider under Article 26(5) / Other / N/A |
| Provider Notified, If Applicable, UTC |  |
| Authority or AI Office Notified, If Applicable, UTC |  |
| Article 26(5) Provider-Unreachable Fallback Used | Yes / No / N/A |
| Product-Liability Regime / Member State / Temporal-Applicability Basis |  |
| CRA Article 14 manufacturer role applicable | Yes / No / Pending legal determination |
| CRA actively exploited vulnerability condition met | Yes / No / Under assessment |
| CRA severe product-security incident condition met | Yes / No / Under assessment |
| CRA statutory awareness timestamp / basis (UTC) |  |
| CRA 24-hour / 72-hour / final-report deadlines (UTC) |  |

Runtime containment record

Repeat this block for every affected asset, agent, tool scope, or actuation domain. This is the runtime record supporting the Phase 2 PASS condition in the main playbook.

| Containment Field | Recorded Value |
| --- | --- |
| Asset / agent / domain identifier |  |
| Asset class and failure code / Indeterminate state |  |
| Interdiction protocol / containment primitive executed |  |
| Containment scope |  |
| Authorizing role and name |  |
| Command / action issued UTC |  |
| Safe condition confirmed UTC |  |
| Safe-State / Safe-Interruption Profile reference |  |
| Exception, limitation, or residual risk |  |
| Evidence / ASCR-07 / ASCR-04 reference |  |

Part A: incident declaration and evidence preservation checklist

Protective physical action takes precedence where delay could increase risk. Where safe and feasible, capture volatile agent state before credential destruction, reboot, rollback, model replacement, or other actions that would erase it. Complete every applicable item contemporaneously or record why capture was not feasible, lawful, or safe.

A-1: ASCR-07 Merkle chain integrity verification

☐  ASCR-07 Merkle chain integrity confirmed for the period covering the incident trigger

Chain integrity status: Intact / Gap detected  ______________________________

If gap detected - gap start timestamp (UTC):  ______________________________

If gap detected - gap end timestamp (UTC):  ______________________________

If gap detected - documented in incident record: Yes / No  ______________________________

Completed by: ______________________  Role: ______________________  Timestamp (UTC): ______________________

A-2: Decision lineage record export

☐  ASCR-07 Decision Lineage Records exported for the deployment-configured pre-incident evidence lookback recorded in EVIDENCE_RETENTION

Configured lookback used: ____________________   Blueprint starting point: 24 hours   Approved extended lookback: ____________________

If extended lookback used, basis: Blueprint starting extension is 72 hours when ASCR-15 campaign evidence supports earlier compromise, unless the approved deployment lookback requires a different interval: ______________________________

Export location / reference:  ______________________________

Completed by: ______________________  Role: ______________________  Timestamp (UTC): ______________________

A-3: ASCR-06 verdict log capture

☐  ASCR-06 verdict log captured for all planning cycles in the incident window

Verdicts captured (check all present): HARD_BLOCK / FAIL / TIMEOUT  ______________________________

Earliest verdict timestamp in capture (UTC):  ______________________________

Latest verdict timestamp in capture (UTC):  ______________________________

Storage location / reference:  ______________________________

Completed by: ______________________  Role: ______________________  Timestamp (UTC): ______________________

A-4: ASCR-04 MCP gateway log preservation

☐  ASCR-04 MCP gateway logs preserved - tool invocation records, SPIFFE identity authentication events, scope violation alerts

SPIFFE scope violation events present: Yes / No  ______________________________

If Yes - number of scope violation events:  ______________________________

Storage location / reference:  ______________________________

Completed by: ______________________  Role: ______________________  Timestamp (UTC): ______________________

A-5: Model artifact hash capture

☐  Currently deployed model artifact hash captured and confirmed against current ASCR-11 AI-BOM entry

Deployed model artifact hash:  ______________________________

AI-BOM entry hash:  ______________________________

Match confirmed: Yes / No - Discrepancy  ______________________________

If discrepancy - escalated to Incident Commander: Yes / Timestamp:  ______________________________

Completed by: ______________________  Role: ______________________  Timestamp (UTC): ______________________

A-6: System prompt version preservation

☐  System prompt version in effect at incident trigger preserved

System prompt version ID / hash:  ______________________________

Storage location / reference:  ______________________________

Completed by: ______________________  Role: ______________________  Timestamp (UTC): ______________________

A-7: Attestation reports capture

☐  Applicable ASCR-16 platform/cross-attestation evidence and associated ASCR-06 verification outcomes covering the incident window captured

Attestation / verification evidence reference(s): ______________________________

Coverage period confirmed (start UTC): __________  (end UTC): __________  ______________________________

Completed by: ______________________  Role: ______________________  Timestamp (UTC): ______________________

A-8: Raw sensor and bus telemetry preservation

☐  Raw sensor telemetry and bus timing logs preserved per Forensic Telemetry Priority column for classified failure code

Failure code used to determine telemetry scope:  ______________________________

Telemetry streams preserved (list):

Storage location / reference:  ______________________________

Completed by: ______________________  Role: ______________________  Timestamp (UTC): ______________________

A-9: Cross-system correlation identifier documentation

☐  Cross-system correlation identifiers documented for the incident window

W3C Trace Context traceparent values captured (HTTP paths): Yes / No / Not applicable  ______________________________

CAN bus correlation identifiers captured (sequence numbers / timestamps / session IDs): Yes / No / Not applicable  ______________________________

EtherCAT correlation identifiers captured: Yes / No / Not applicable  ______________________________

PROFINET correlation identifiers captured: Yes / No / Not applicable  ______________________________

Storage location / reference:  ______________________________

Completed by: ______________________  Role: ______________________  Timestamp (UTC): ______________________

A-10: Evidence custodian assignment

Per ASCR-08, all preserved evidence items are assigned to the named Evidence Custodian at the time of preservation.

Evidence Custodian assigned (from CF1 / Part 1):  ______________________________

Assignment timestamp (UTC):  ______________________________

Evidence Custodian confirmed receipt of all items above: Yes / No  ______________________________

Completed by: ______________________  Role: ______________________  Timestamp (UTC): ______________________

A-11: Regulatory notification status

Regulatory notification screening runs in parallel with this checklist. ASCR-08 activation or classification does not create a statutory clock. Record the trigger/awareness timestamp required by each potentially applicable regime and file with available verified information when the clock requires it.

NIS2 Article 23 early warning required: Yes / No / Under assessment  ______________________________

If NIS2 potentially applies - statutory awareness timestamp / basis (UTC):  ______________________________

If NIS2 early warning required - deadline (UTC):  ______________________________

EU AI Act high-risk serious-incident reporting regime in force for the affected system at incident time: Yes / No / Pending legal determination  ______________________________

If potentially applicable - Article 3(49) condition, Article 6/Annex classification basis, application-date/transitional basis, legal role, and deadline basis:  ______________________________

EU AI Act organization role confirmed: Provider / Deployer / Importer / Distributor / Product Manufacturer / Other / Pending  ______________________________

EU AI Act reporting destination assessed: Article 73 Member State route / Article 75(1a) AI Office route / Article 26(5) provider notification route / Other / N/A  ______________________________

Personal-data breach under GDPR Article 33 identified: Yes / No / Under assessment  ______________________________

If Yes - controller awareness timestamp and 72-hour deadline (UTC):  ______________________________

GDPR Article 34 high-risk data-subject communication assessed: Yes / No / N/A  ______________________________

DORA Article 19 notification required: Yes / No / Not applicable  ______________________________

CRA Article 14 manufacturer role applicable: Yes / No / Pending legal determination  ______________________________

CRA Article 14 reporting obligations apply from 11 September 2026 where the statutory scope, role, and reporting conditions are met.

CRA actively exploited vulnerability condition met: Yes / No / Under assessment  ______________________________

CRA severe product-security incident condition met: Yes / No / Under assessment  ______________________________

If CRA potentially applies - statutory awareness timestamp / basis (UTC):  ______________________________

If CRA reporting required - 24-hour / 72-hour / final-report deadlines (UTC):  ______________________________

Regulatory Compliance Officer notified: Yes / Timestamp (UTC):  ______________________________

Completed by: ______________________  Role: ______________________  Timestamp (UTC): ______________________

A-12: Assembled runtime context capture

☐  Capture the assembled runtime context for the relevant planning cycles, including system prompt, message history, retrieved content and sources, and tool outputs, subject to lawful minimization requirements.

Storage location / reference:  ______________________________

Capture not feasible / lawful / safe: Yes / No. If Yes, reason:  ______________________________

Completed by: ______________________  Role: ______________________  Timestamp (UTC): ______________________

A-13: Queued and in-flight tool invocation capture

☐  Capture queued and in-flight tool invocations with parameters, authorization context, dispatch state, and disposition at containment.

Storage location / reference:  ______________________________

Completed by: ______________________  Role: ______________________  Timestamp (UTC): ______________________

A-14: Inference configuration capture

☐  Capture the executed model build or variant, quantization where applicable, decoding or sampling settings, seed where available, and other configuration needed to characterize the running instance.

Configuration / evidence reference:  ______________________________

Completed by: ______________________  Role: ______________________  Timestamp (UTC): ______________________

A-15: Volatile process-state capture

☐  Where technically feasible, lawful, and safe, capture relevant in-process memory or equivalent volatile runtime state before reboot.

Capture completed: Yes / No / Not technically feasible / Not lawful / Unsafe to delay

Evidentiary limitation / protective action reference:  ______________________________

Completed by: ______________________  Role: ______________________  Timestamp (UTC): ______________________

Evidence register

Record each preserved item at acquisition. Use the organization-approved evidence-integrity digest method and write-once or otherwise protected storage where required by policy.

| Evidence ID | Artifact / source | Acquired UTC | Method / tool / storage ID | Integrity digest / evidence ref |
| --- | --- | --- | --- | --- |

Custody transfer register

| Evidence ID | From / to | Transfer UTC | Reason | Digest re-verified / reference |
| --- | --- | --- | --- | --- |

Evidence access / disclosure register

| Evidence ID | Accessing person / role | Access UTC | Purpose / disclosure recipient | Outcome / authorization ref |
| --- | --- | --- | --- | --- |

Incident decision log

| Decision UTC | Decision / no-action decision | Authorizing role / name | Evidence reviewed | Rationale / action ref |
| --- | --- | --- | --- | --- |

Classification history

| UTC | From classification | To classification | Authorizing analyst / role | Evidence basis / reason |
| --- | --- | --- | --- | --- |

Part A completion sign-off

All Part A items completed: Yes / No - Items outstanding:  ______________________________

ASCR-07 unavailability documented (if applicable): Yes / No / Not applicable  ______________________________

Incident Commander review of Part A:  ______________________________

Incident Commander signature:  ______________________________

Timestamp (UTC):  ______________________________

Part B: re-attestation checklist for governed Safe-State release

Execute all items before presenting the edge node for Safe-State release authorization. Present this completed checklist to the applicable ASCR-03 Section 4.2 circuit-breaker release authority or authorities recorded in CF1 (Part 1). For convergence-domain incidents, both the Security/IR and OT / Physical-system release authorities must approve release. An incomplete checklist is a hold continuation, not a release authorization.

B-0: Pre-checklist - tiered release authority confirmation

Before executing Part B, confirm the correct release authority for the failure code Intent class:

Failure code Intent class: Type-A / Type-S / Type-X / Indeterminate - accepted uncertainty  ______________________________

Type-A: The Security/IR Lead, acting as the security-investigation authority under the ASCR-03 role mapping and Incident Commander assignment in Part 1, must confirm that the adversarial vector is contained or remediated before release is presented. ASCR-15 campaign-pattern material is consulted where applicable.

Type-S: AI/ML Engineering Lead must confirm stochastic failure mode has been characterized and operational authority on resumption has been determined.

Type-X: OT Engineering Lead must confirm infrastructure condition has been remediated or mitigated.

Indeterminate accepted uncertainty: Yes / No / N/A  ______________________________

Unresolved taxonomy dimension(s):  ______________________________

Residual uncertainty / evidence limitation:  ______________________________

Rationale for release presentation:  ______________________________

Accepting ASCR-03 release authority / authorities:  ______________________________

Approval timestamp UTC:  ______________________________

Review / expiry condition:  ______________________________

An Indeterminate incident may be presented for release only when the uncertainty relevant to safe release has been explicitly accepted by the applicable ASCR-03 Section 4.2 release authority or authorities after required remediation, verification, and residual-risk evidence are documented. Indeterminate status is not itself authorization to resume autonomous operation.

Security investigation / applicable function confirmation obtained: Yes / No  ______________________________

Security/IR Lead / Incident Commander or applicable function lead name: __________  Timestamp (UTC): __________  ______________________________

B-1: Cross-attestation re-verification (ASCR-16 EP-19)

☐  Fresh platform attestation evidence generated using the deployment-approved attestation profile, for example an edge TEE attestation report where supported

Attestation evidence / report reference:  ______________________________

Artifact hash or approved artifact measurement verified against the cloud provisioning lineage token / authorized artifact reference: Yes / No  ______________________________

Attestation profile / measurement type, for example tpm_pcr or platform_attestation:  ______________________________

Authorized platform measurement / attestation-profile values verified, for example PCR values where the TPM/PCR profile is used: Yes / No  ______________________________

ASCR-10 authorization reference resolved without discrepancy: Yes / No  ______________________________

Result: Pass / Platform measurement mismatch (EDGE_ATTESTATION_REFERENCE_MISMATCH) / Lineage token invalid (LINEAGE_TOKEN_INVALID) / Inconclusive  ______________________________

If Pass: proceed.

HALT: If Platform measurement mismatch (EDGE_ATTESTATION_REFERENCE_MISMATCH), Lineage token invalid (LINEAGE_TOKEN_INVALID), or Inconclusive: maintain the hold and reopen investigation. Determine Type-A, Type-X, or another classification from the available incident evidence. Do not proceed with the release checklist.

Completed by: ______________________  Role: ______________________  Timestamp (UTC): ______________________

B-2: Runtime weight-state verification

☐  Deployment-qualified runtime weight-state verification completed

Verification method:  ______________________________    Platform / TEE evidence reference, if applicable:  ______________________________

Measurement scope:  ______________________________    Authorized AI-BOM / ASCR-10 artifact reference:  ______________________________

Verification result: Pass / Mismatch / Inconclusive  ______________________________    Coverage or method limitations:  ______________________________

HALT: If Mismatch or Inconclusive: maintain the hold and reopen investigation. Do not automatically assign Type-A solely from a weight-state mismatch; classify the event using the evidence and classification rules in the main playbook.

Completed by: ______________________  Role: ______________________  Timestamp (UTC): ______________________

B-3: Analog behavioral attestation baseline re-establishment

☐  Power, EM, and thermal emission logs during Safe-State period reviewed against pre-incident behavioral baseline

Safe-State period start (UTC):  ______________________________

Safe-State period end (UTC):  ______________________________

Anomalies in emission profile during Safe-State: Yes / No  ______________________________

If anomalies present, describe:

______________________________

If anomalies present - ABA-02 alert fired: Yes / No  ______________________________

If anomalies present - physical hardware inspection completed: Yes / No  ______________________________

Emission profile cleared for resumption: Yes / No / Pending investigation  ______________________________

Completed by: ______________________  Role: ______________________  Timestamp (UTC): ______________________

B-4: Context feed integrity verification

☐  All context feeds to be consumed upon resumption have passed ASCR-16 boundary hash verification since the Safe-State trigger

Context feeds verified (list all):

| Feed ID / Name | Verification Status | Queued Before Safe-State | Action Taken |
| --- | --- | --- | --- |
|  | Pass / Fail | Yes / No | Cleared / Discarded / Re-sourced |
|  | Pass / Fail | Yes / No | Cleared / Discarded / Re-sourced |
|  | Pass / Fail | Yes / No | Cleared / Discarded / Re-sourced |
|  | Pass / Fail | Yes / No | Cleared / Discarded / Re-sourced |

Any feed that failed verification or cannot be re-sourced: Yes / No  ______________________________

Warning: If Yes: Hold continuation. Document below and notify Incident Commander.

Completed by: ______________________  Role: ______________________  Timestamp (UTC): ______________________

B-5: SIS re-engagement confirmation (if SIS was engaged)

SIS engagement during incident: Yes / No / Not applicable  ______________________________

If SIS was engaged:

☐  OT Engineering Lead confirmed SIS returned to normal operational mode

☐  Manual bypasses exercised during recovery sequence removed and documented

SIS latch status: Not latched / Latched  ______________________________

HALT: If SIS is latched: HALT. Do not proceed. SIS latch must be cleared by Process Safety Engineer per site Process Safety Management procedures. Safe-State release cannot be authorized while a SIS latch is active.

OT Engineering Lead confirmation name:  ______________________________

Confirmation timestamp (UTC):  ______________________________

Bypass removal documentation reference:  ______________________________

Completed by: ______________________  Role: ______________________  Timestamp (UTC): ______________________

B-6: ASCR-07 continuity confirmation

☐  ASCR-07 Merkle chain confirmed intact from Safe-State trigger timestamp through present

Chain integrity status during Safe-State period: Intact / Gap detected  ______________________________

If gap detected - gap timestamps (UTC):  ______________________________

If gap detected - documented in incident record as evidentiary limitation: Yes / No  ______________________________

Note: A chain gap during Safe-State does not block release but must be documented before the release decision is made. It is an ASCR-09 exercise gap regardless of incident outcome.

Completed by: ______________________  Role: ______________________  Timestamp (UTC): ______________________

B-7: Domain scoping review

☐  Safe-State release confirmed as strictly scoped to the actuation domain of the triggering failure

Triggering failure domain:  ______________________________

Adjacent domains placed in precautionary hold: Yes / No  ______________________________

If Yes - adjacent domains:  ______________________________

Confirmation that adjacent precautionary domains will NOT be released based on this checklist: Yes  ______________________________

Separate Part B checklist initiated for each additional domain: Yes / No / Not applicable  ______________________________

Completed by: ______________________  Role: ______________________  Timestamp (UTC): ______________________

B-8: Eradication and persistence disposition

Record only actions supported by the evidence. Do not rotate all credentials, reflash all firmware, or purge all state by default.

| Persistence mechanism / condition | Eradication or disposition action | Owner | Completion evidence | Residual uncertainty / risk acceptance ref |
| --- | --- | --- | --- | --- |

B-9: Action consequence and compensation record

Enumerate consequential physical actions and external tool calls completed during the incident window before autonomous operation is restored.

| Action / tool-call evidence ref | Outcome: benign / reversible / irreversible | Compensating action | Owner / safety approval | Completion / consequence record ref |
| --- | --- | --- | --- | --- |

Part B completion sign-off

All Part B items completed: Yes / No - Items outstanding:  ______________________________

All HALT conditions cleared or documented: Yes / No  ______________________________

Checklist presented to required ASCR-03 Section 4.2 release authority or authorities: Yes / No  ______________________________

Required release authority name(s) from CF1 / Part 1: Security/IR ____________________  OT / Physical-system ____________________

Release Decision:

AUTHORIZED - all checklist items complete and cleared

DENIED - incomplete checklist or outstanding HALT condition (state reason below)

Reason for denial (if applicable):  ______________________________

Required release-authority signature(s): Security/IR ____________________  OT / Physical-system ____________________

Release decision timestamp (UTC):  ______________________________

Post-release documentation

| Field | Value |
| --- | --- |
| Autonomous operation resumed timestamp (UTC) |  |
| Final failure code classification |  |
| ASCR-01 risk score update required | Yes / No |
| ASCR-09 exercise gap identified | Yes / No - Gap description: |
| Incident closed timestamp (UTC) |  |
| Incident Commander close-out signature |  |
| Evidence Custodian final custody transfer confirmation |  |
| Runtime containment record complete | Yes / No |
| Decision log and classification history complete | Yes / No |
| Evidence / custody / access registers complete | Yes / No |
| Action consequence / compensation record complete | Yes / No / Not applicable |
| Eradication / persistence disposition complete | Yes / No / Not applicable |
| Closure item | Required record |
| ASCR-17 vendor reassessment | Triggered Yes/No/N/A; vendor/component; reassessment reference |
| Post-incident review | Required Yes/No; POST_INCIDENT_REVIEW_TARGET; completion date; evidence reference |
| Re-authorization observation | REAUTH_OBSERVATION profile; start/end UTC; exit criteria; outcome/reference |

Note: OE01 Part 2 (legacy CF2), together with its containment, evidence, custody, access, decision, classification-history, eradication, and compensation records, constitutes the ASCR-08 incident evidence record. Retain it according to the governing basis recorded in the Incident Header.

Part 3. IEC 61511 SIF Safe-State Exception Register (CF4)

Document information

| Document ID | ASCR-08-CF4 |
| --- | --- |
| Type | Site-specific safety annex - mandatory for deployments with SIS-governed process equipment |
| Status | DRAFT - must be completed by the Process Safety Engineer and maintained with the deployment response package before operational activation |
| Linked playbook sections | Section 7.2 (SIS re-engagement confirmation), Section 7.2 (SIS latch scenario), Section 1.2 (deployment-specific Safe-State note following Table 1.1) |
| Version | 1.0 — June 2026 |
| Review cadence | Annual; immediately following any SIS configuration change; immediately following any ASCR-08 incident that involved SIS engagement |
| Custodian | Process Safety Engineer (named in CF1 / Part 1, Section 10) |

Purpose and scope

ASCR-08 requires each interdiction path to converge on the deployment-approved Safe-State or safe-interruption profile for the affected asset. Safe-State is the validated condition in which the asset can remain without unacceptable risk. Reaching that condition may require controlled actuation, load management, a safety-rated stop function, manual or teleoperation handover, or another approved transition rather than immediate de-energization. For SIS-governed final elements, the approved SIF safe state / final-element safe position recorded in this Part governs the device-specific process-safety condition.

IEC 61511 requires Safety Instrumented Functions and their associated SIS to be specified, designed, operated, and maintained so that the process can achieve or maintain its defined safe state. The applicable safe state and final-element behavior for each SIF are established in the site's approved safety requirements specification and process-safety engineering basis. Depending on the process hazard, the required final-element state may be open, closed, energized, de-energized, or another engineered condition.

Deployment-specific safety-basis principle. ASCR-08 defines no universal physical Safe-State. For each SIS-governed final element, this register records how the approved SIF safe state / final-element safe position aligns with, constrains, or differs from the deployment-approved Safe-State or safe-interruption profile established through ASCR-03 Section 6 and the applicable process-safety engineering basis. The Incident Commander and ASOC use this register to execute the approved transition without substituting an ASCR-08 default for the approved device-specific safety condition.

Applicability. This register applies only to deployments where the agentic system's physical actuation domain intersects with or depends on process equipment governed by a Safety Instrumented System governed by the applicable IEC 61511 lifecycle and site process-safety engineering basis.

If the deployment has no SIS-governed equipment in the actuation domain, this register must state:

Warning: "NO SIS-GOVERNED EQUIPMENT IN ACTUATION DOMAIN - NOT APPLICABLE"

The statement must be signed by the Process Safety Engineer. That statement does not eliminate the Process Safety Engineer role requirement from CF1 (Part 1).

Deployment identification

| Field | Value |
| --- | --- |
| Deployment Name / Site ID |  |
| Physical Location |  |
| Agent System(s) Whose Actuation Domain Intersects with SIS |  |
| SIS Vendor and Model |  |
| SIS Safety Integrity Level (SIL) Rating | SIL |
| SIS Last Functional Test Date |  |
| SIS Next Scheduled Functional Test Date |  |
| Process Safety Management Procedure Reference |  |
| IEC 61511 Lifecycle Documentation Reference |  |
| ASCR-08 Playbook Version This Register Supports |  |
| Register Version |  |
| Effective Date |  |

How to complete this register

For each Safety Instrumented Function (SIF) in the deployment whose final element falls within the agentic system's actuation domain, or whose demand signal could be affected by an agentic system failure:

- Enter the SIF tag and description.

- State the SIF safe state / final-element safe position (the approved SIF safe state / final-element safe position on SIS demand or loss of signal).

- State whether the SIF safe state / final-element safe position differs materially from, constrains, or adds conditions to the deployment-approved Safe-State or safe-interruption profile used during ASCR-08 incident response.

- If a difference or additional constraint exists, describe how the ASCR-08 Incident Commander and ASOC must apply the deployment-approved Safe-State or safe-interruption profile for that device.

- State the latch behavior - whether the SIS will latch after activation and require manual reset, or will auto-reset when the demand is removed.

- State who is authorized to reset the SIS after a latch event.

Section 1: No-SIS declaration (complete if not applicable)

If the deployment has no SIS-governed equipment in the agentic system's actuation domain:

I confirm that the agentic system deployment identified above has no Safety Instrumented Functions governed by IEC 61511 within its physical actuation domain. The IEC 61511 SIF Safe-State Exception Register is not applicable to this deployment.

Process Safety Engineer Name:  ______________________________

Signature:  ______________________________

Date:  ______________________________

Note: If Section 1 is completed, Sections 2 through 5 do not apply. Maintain this completed declaration with the deployment response package.

Section 2: SIF exception register

Complete one row per SIF. Add rows as needed.

2.1 Column definitions

| Column | Definition |
| --- | --- |
| SIF Tag | P&ID instrument tag for the Safety Instrumented Function, e.g. SIF-101, ESD-22B |
| SIF Description | Brief functional description |
| Final Element Tag(s) | P&ID tag(s) of the final element(s) this SIF actuates |
| Final Element Type | Valve (specify gate/ball/butterfly/globe), Motor, Relay, Damper, or Other |
| SIF safe state / final-element safe position | Approved SIF safe state / final-element safe position: FAIL-OPEN, FAIL-CLOSED, DE-ENERGIZED, ENERGIZED, or LOCKED, as established by the approved safety requirements specification and process-safety engineering basis |
| Deployment Safe-State / SIS Difference | YES or NO; identify whether the approved SIF safe state / final-element safe position differs materially from, constrains, or adds conditions to the deployment-approved Safe-State or safe-interruption profile. |
| ASCR-08 Incident Guidance | Guidance for ASOC and Incident Commander during Safe-State activation |
| Latch Behavior | AUTO-RESET, MANUAL-RESET-REQUIRED, or REQUIRES-BYPASS-REMOVAL |
| Reset Authority | Authorized individual(s) permitted to reset the SIF |
| Notes | Additional process safety constraints relevant to incident management |

2.2 SIF exception table

Table 3.1. SIF exception register (one row per Safety Instrumented Function).

| SIF Tag | SIF Description | Final Element Tag(s) | Final Element Type | SIF safe state / final-element safe position | Deployment Safe-State / SIS Difference | ASCR-08 Incident Guidance | Latch Behavior | Reset Authority | Notes |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Section 3: ASOC briefing summary

This section is a plain-language briefing for the ASCR-08 Incident Commander and ASOC Lead Analyst. It translates the SIF exception table into operational guidance that can be referenced quickly during an active incident.

Complete this section after the SIF exception table is populated. It must be readable without reference to the table above.

3.1 Devices that will be in a non-intuitive state after deployment Safe-State / safe-interruption activation

List every final element for which the approved SIF safe state / final-element safe position differs materially from, constrains, or adds conditions to the deployment-approved Safe-State or safe-interruption profile used during ASCR-08 incident response.

| Final Element Tag | Physical State After Deployment Safe-State / Safe-Interruption Activation | Why This State Is Process-Safe | Caution for ASOC / Incident Commander |
| --- | --- | --- | --- |

3.2 Devices requiring manual reset before autonomous operation resumes

List every final element where Latch Behavior = MANUAL-RESET-REQUIRED or REQUIRES-BYPASS-REMOVAL.

These devices will not return to operational state automatically after Safe-State is released. The ASCR-08 re-attestation checklist (Part 2 / CF2, Item B-5) will not complete until these resets are confirmed by the Process Safety Engineer.

| Final Element Tag | Reset Action Required | Reset Authority | Estimated Reset Time | Impact on ASCR-08 Recovery Timeline |
| --- | --- | --- | --- | --- |

3.3 SIS latch risk summary

State whether any SIF in this deployment can latch in a non-resettable state that would prevent autonomous operation from resuming under any circumstances.

SIS latch risk present for this deployment: Yes / No  ______________________________

If Yes - describe conditions and recovery path:

______________________________

Section 4: Incident commander pre-briefing acknowledgment

The ASCR-08 Incident Commander must read this register before assuming the Incident Commander role for any incident at this deployment.

This acknowledgment confirms that the Incident Commander understands the SIF safe state / final-element safe positions that apply at this site and the ASCR-08 incident guidance for each conflicting SIF.

| Field | Value |
| --- | --- |
| Incident Commander Name (Primary, from CF1 / Part 1) |  |
| Acknowledgment of Register Review |  |
| Date of Review |  |
| Incident Commander Signature |  |
| Incident Commander Name (Backup, from CF1 / Part 1) |  |
| Acknowledgment of Register Review |  |
| Date of Review |  |
| Incident Commander Signature |  |

Section 5: Process safety engineer attestation

I confirm that:

- The SIF Exception Register in Section 2 accurately reflects all Safety Instrumented Functions governed by IEC 61511 within the agentic system's actuation domain for the deployment identified at the top of this part.

- The SIF safe state / final-element safe positions recorded are current and reflect the approved SIS configuration and applicable safety requirements specification.

- The ASOC Briefing Summary in Section 3 accurately represents the operational implications of each SIF exception for ASCR-08 incident management.

- The Incident Commander(s) named in Section 4 have reviewed and acknowledged this register.

- This register will be updated immediately upon any SIS configuration change and reviewed annually as part of the ASCR-08 playbook review cycle.

| Field | Value |
| --- | --- |
| Process Safety Engineer Name |  |
| Functional-safety qualification / competency evidence reference |  |
| Certification Body |  |
| Signature |  |
| Date of Attestation |  |
| Register Version Attested |  |
| Next Scheduled Review Date |  |

Appendix: relevant standards and references

| IEC 61511-1:2016+AMD1:2017 | Functional Safety - SIS for the Process Industry | Defines SIS functional-safety lifecycle requirements and the process safe-state basis for applicable SIFs |
| --- | --- | --- |
| IEC 61511-2:2016 | Guidance for application of IEC 61511-1 | Guidance on SIS design and operation |
| IEC 61511-3:2016 | SIL determination guidance | SIL determination methodology |
| IEC 61508-1:2010 | Functional Safety of E/E/PE Safety-Related Systems | Parent standard to IEC 61511 |
| ASCR-08 | 27-point failure classification matrix | Identifies incident-response paths that may require transition to a deployment-approved Safe-State or safe-interruption condition; the physical end state remains defined through ASCR-03 Section 6 and the applicable safety-engineering basis. |
| ASCR-08 | Re-attestation checklist | SIS re-engagement confirmation requirement |
| Chapter 4 | Kinetic circuit-breaker and SIS handoff model | Architectural foundation for SIS integration |

Warning: OE01 Part 3 (legacy CF4) must be completed by the Process Safety Engineer and maintained with the deployment response package before operational activation at any deployment with SIS-governed process equipment. Retain this Process Safety record under the applicable site Process Safety Management, legal, and records-retention schedule. ASCR-08 does not impose a universal retention period for this record.

Part 4. Quick reference card (CF6)

Document information

Physical interdiction on this card is not an instruction to remove power or stop motion abruptly. Execute the applicable response through the asset's Deployment Safe-Interruption Profile in Part 1 and main playbook Section 2.5. Where technically feasible and safe, preserve volatile state before reboot, reset, rollback, or other destructive state change.

| Document ID | ASCR-08-CF6 |
| --- | --- |
| Type | Operational quick reference - print and laminate or load on mobile |
| Linked playbook | ASCR-08 Agentic Incident Response Playbook v1.0 |
| Version | 1.0 — June 2026 |

Note: This card contains no authoritative content. It is a navigation aid only. All decisions must be made against the full ASCR-08 playbook. Role assignments are in Part 1 (CF1). The incident form is Part 2 (CF2).

Card 1 of 2: three-function parallel activation sequence

All three functions activate in parallel. Protective physical action never waits for evidence or notification work. Statutory clocks follow the applicable legal trigger and may already be running when ASCR-08 is activated.

| Function 1: Physical Interdiction | Function 2: Evidence Preservation | Function 3: Regulatory Notification |
| --- | --- | --- |
| 1. Look up failure code in Card 2 | 1. Confirm ASCR-07 Merkle chain integrity | 1. Identify notification obligations (table below) |
| 2. Execute the interdiction protocol through the applicable Deployment Safe-Interruption Profile and Section 2.5 | 2. Export ASCR-07 Decision Lineage Records for EVIDENCE_RETENTION (Part 2 A-2) | 2. Notify Regulatory Compliance Officer (CF1 / Part 1, Section 7) |
| 3. Confirm governed hold enforced through ASCR-04 where applicable | 3. Capture ASCR-06 verdict log | 3. Note notification deadline from awareness timestamp |
| 4. Notify Incident Commander (CF1 / Part 1, Section 1) | 4. Preserve ASCR-04 MCP gateway logs | 4. File any required notice with available verified information; do not wait for full investigation or vendor evidence |
| 5. Declare convergence-domain if conditions met (Sec 2.3) | 5. Capture model artifact hash vs AI-BOM | 5. Track each deadline from its statutory awareness/trigger timestamp |
| 6. Do NOT release hold without CF2 (Part 2) Part B complete | 6. Capture assembled runtime context where feasible before destructive changes |  |
|  | 7. Capture queued/in-flight tool calls and inference configuration |  |
|  | 8. Capture attestation, raw sensor/bus telemetry and correlation IDs |  |
|  | 9. Assign Evidence Custodian; start Evidence/Custody/Access registers |  |
|  | 10. Record evidence limitations caused by protective action |  |

Warning: ASCR-07 unavailable? Continue with secondary telemetry. Notify the Incident Commander immediately and notify the Regulatory Compliance Officer according to REG_NOTIFY_TARGET. Treat ASCR-07 unavailability as a potential A-R-S or X-R-S indicator. File the gap with the ASCR-09 TVA coordinator.

Regulatory notification quick reference

| Condition requiring screening | Obligation / route | Deadline from statutory awareness/trigger |
| --- | --- | --- |
| NIS2 significant-incident screen met | NIS2 Art. 23 early warning, where applicable | 24 hours from applicable awareness trigger |
| NIS2 significant incident | NIS2 Art. 23 incident notification | 72 hours from applicable awareness trigger; final-report sequence per law in force |
| Death or serious harm to health caused directly or indirectly by AI-system incident/malfunction | EU AI Act Article 73 route, or Article 75(1a) AI Office route where applicable, only when the relevant high-risk regime is in force for the system and legal role | Immediately after causal-link threshold; max 10 days where death occurred, otherwise max 15 days from awareness |
| Serious and irreversible disruption of management or operation of critical infrastructure | EU AI Act Article 73 route, or Article 75(1a) AI Office route where applicable, only when the relevant high-risk regime is in force for the system and legal role | Immediately and no later than 2 days from awareness |
| Infringement of Union-law obligations intended to protect fundamental rights | EU AI Act Article 73 route, or Article 75(1a) AI Office route where applicable, only when the relevant high-risk regime is in force for the system and legal role | Immediately after causal-link threshold; max 15 days, or 2 days for widespread infringement |
| Serious harm to property or environment | EU AI Act Article 73 route, or Article 75(1a) AI Office route where applicable, only when the relevant high-risk regime is in force for the system and legal role | Immediately after causal-link threshold and max 15 days from awareness |
| Personal-data breach requiring supervisory-authority notification | GDPR Art. 33; assess Art. 34 separately | Without undue delay and, where feasible, within 72 hours after controller awareness |
| DORA major ICT-related incident for an in-scope financial entity | DORA Art. 19 route | Use DORA timeline in force; do not wait for ASCR-08 investigation completion or vendor report |
| Manufacturer of an in-scope product with digital elements becomes aware of an actively exploited vulnerability meeting CRA Article 14 | CRA Article 14 vulnerability reporting through the applicable single reporting platform to the designated CSIRT coordinator and ENISA | Early warning no later than 24 hours after awareness; vulnerability notification no later than 72 hours; final report no later than 14 days after a corrective or mitigating measure becomes available, unless already supplied |
| Manufacturer of an in-scope product with digital elements becomes aware of a severe incident affecting product security meeting CRA Article 14 | CRA Article 14 severe-incident reporting | Early warning no later than 24 hours after awareness; incident notification no later than 72 hours; final report within one month after the incident notification, unless already supplied |

Card 2 of 2: 27-point failure code lookup

Find your code. Apply the interdiction protocol through the asset's Deployment Safe-Interruption Profile and main Section 2.5. Where safe, capture volatile state before reboot, reset, rollback, or another destructive state change. Collect the telemetry and classify the intent. This card reproduces the main playbook Table 1.1 (Section 1.2) in abbreviated form; the main playbook governs.

| Code | Name | Physical Signature | Telemetry to Collect | Interdiction Protocol |
| --- | --- | --- | --- | --- |
| A-P-M | Context Corruption | Spoofed sensor forces unauthorized rerouting | Sensor cross-validation logs; signal-to-noise ratios; ASCR-07 context_hash_before divergence | Logic Interception: roll back navigation context |
| A-P-D | Perceptual Hijack | Adversarial patches cause agent to ignore safety barriers | Vision model confidence heatmaps; raw frame buffer; ASCR-07 plan_delta_summary | Model Bounding: geofencing at ASCR-04 MCP gateway |
| A-P-S | Sensor Blinding | Jamming disables perception layer Safe-State trigger | Hardware interrupt logs; RF telemetry; ASCR-06 verdict log TIMEOUT events | Physical Interlock: immediate Safe-State via hardware PLC |
| A-R-M | Objective Hijack | Attacker injects high-priority tasks into goal queue | MCP API logs; task arbitration traces; ASCR-07 goal_hash delta | Logic Interception: roll back goal-state; isolate or revoke the workload identity/session through the deployment identity control; ASCR-04 rejects subsequent unauthorized invocations. |
| A-R-D | Prompt Injection | Injected instructions bypass safety limits | ASCR-07 reasoning traces; LLM/VLA latent space logs; ASCR-04 tool invocation log scope violations | Semantic Firewall: obtain ASCR-06 verification outcome; apply governed HOLD/BLOCK through ASCR-04 pending review |
| A-R-S | Logic Denial | Crash forces fail-open actuation state | Memory/CPU utilization; process watchdog logs; ASCR-07 chain gap detection | Hardware Interlock: mechanical fail-safe - Safe-State only |
| A-C-M | Command Injection | Unauthorized motor commands injected into control bus | CAN/EtherCAT traffic logs; gateway or secure-overlay authentication/integrity failures where implemented; ASCR-07 actuation_triggered vs auth_chain mismatch | Determinism Hardening: apply cryptographic authentication/integrity controls where supported by the actuation protocol or an authenticated gateway/secure overlay; reject commands that fail the deployment's authenticated-control policy |
| A-C-D | Closed-Loop Exploitation | Malicious oscillation via feedback manipulation | Actuator feedback jitter; control loop stability metrics; ASCR-06 force vector divergence | Force Bounding: torque/velocity hardware clamp |
| A-C-S | Control Silencing | Stop command path to actuator disabled | Bus utilization; packet loss on safety-critical frames; ASCR-04 hold-enforcement confirmation failure; associated ASCR-06 verdict | Secondary Interlock: independent safety-rated E-Stop or protective function on a dedicated path; apply the EMC and installation controls required by the deployment safety basis; galvanic isolation alone is insufficient |
| S-P-M | Contextual Ghosting | Sensor noise misidentified as valid navigation point | Sensor variance logs; probability maps; ASCR-07 divergence_score trend | Model Bounding: statistical filtering; multi-modal consensus required |
| S-P-D | Perceptual Hallucination | Model misidentifies human as static object | Model confidence scores; inference latency; ASCR-07 plan_delta_summary human-proximate | Physical Interlock: hardware-enforced threshold stop via proximity sensors |
| S-P-S | Occlusion Drift | Tracked object lost during obstruction | Kalman filter residual logs; tracking ID history; ASCR-07 context_hash divergence during occlusion | Model Bounding: velocity reduction until confidence restored |
| S-R-M | Goal Conflict | Two safe but physically incompatible tasks simultaneously | Task priority logs; arbitration logic state; ASCR-07 goal_hash dual-objective detection | Logic Interception: Safety supersedes Efficiency at MCP gateway |
| S-R-D | Edge-Case Plausibility | Unstable path selected in novel terrain | Path-planning cost maps; ASCR-07 plan_delta_summary novel trajectory; ASCR-10 shadow mode baseline deviation | Kinetic Enveloping: reduce allowable Kinetic Envelope to last validated boundary |
| S-R-S | Inference Timeout | Model fails to produce plan within real-time window | GPU/TPU execution timing; wait-state telemetry; ASCR-06 TIMEOUT verdict frequency | Determinism Hardening: execute pre-cached Default Safe Motion path |
| S-C-M | Emergent Oscillation | Mechanical resonance from non-deterministic latency | Actuator frequency logs; PID error residuals; ASCR-07 divergence_score sustained actuation variance | Force Bounding: automated gain-reduction on control loop |
| S-C-D | Cumulative Drift | Minor errors accumulate into safety-zone breach | Positional encoder drift; odometry logs; ASCR-07 divergence_score monotonic drift | Model Bounding: mandatory recalibration and homing cycle |
| S-C-S | Jitter-Induced Stall | Micro-delays suppress control loop timing integrity | Real-time jitter telemetry; bus timing logs; ASCR-04 hold-enforcement latency versus HOLD_ENFORCEMENT_TARGET | Determinism Hardening: real-time priority escalation; TSN for safety-critical frames |
| X-P-M | Calibration Decay | Hardware degradation creates growing perception gap | Maintenance and uptime logs; sensor drift metrics; ASCR-07 divergence_score long-term elevation | Model Bounding: dynamic uncertainty scaling; flag for maintenance before SOFT_ALERT |
| X-P-D | Resource Exhaustion | Sensor processing lags due to undersized hardware | System load averages; VRAM utilization; ASCR-07 inference latency trend | Determinism Hardening: frequency scaling; drop non-critical vision frames only |
| X-P-S | Hardware Fault | Physical sensor failure suppresses perception signals | BIST logs; voltage metrics; ASCR-06 TIMEOUT perception-layer source | Physical Interlock: redundancy switchover OR immediate Safe-State |
| X-R-M | Memory Leak | Memory saturation causes reasoning to revert to defaults | Memory heap logs; GC timing; ASCR-07 goal_hash reversion to default | Controlled agent restart only through the Deployment Safe-Interruption Profile; transition to manual/teleoperation as required |
| X-R-D | Model Version Mismatch | Untrained model deployed for current hardware config | Model metadata; firmware version logs; ASCR-11 AI-BOM currency check | Semantic Firewall: block actuation until model-hardware handshake verified |
| X-R-S | Compute Deadlock | Two processes lock same AI accelerator resource | Thread deadlock logs; mutex/semaphore state; ASCR-07 chain gap reasoning absent | Watchdog reset and hardware-level interdiction only through the Deployment Safe-Interruption Profile |
| X-C-M | Bus Collision | Safety signals delayed by low-priority telemetry | Network collision rates; QoS queue depth; ASCR-04 hold-enforcement latency versus HOLD_ENFORCEMENT_TARGET | Determinism Hardening: TSN implementation; guaranteed delivery windows |
| X-C-D | Bandwidth Saturation | Actuation precision degrades as control link saturates | Throughput metrics; packet drop history; ASCR-07 actuation_triggered command fidelity | Force Bounding: down-sample actuation frequency to match available bandwidth |
| X-C-S | Temporal Poisoning | Network jitter exceeds Stability Margin | Latency variance logs; phase margin metrics; ASCR-04 hold-enforcement latency trend correlated with ASCR-06 verdict | Physical Interlock: independent hardware E-Stop - not a performance issue |

Classification decision rules

A vs X ambiguous? Record Intent as Indeterminate with A/X candidates. Apply the more protective deployment-authorized interdiction needed for the observed condition, preserve the union of candidate telemetry, and reclassify only when evidence supports A or X. Do not default to Type-A solely because attribution is uncertain.

Indeterminate? Use the narrowest safe containment supported by the observed condition and plausible candidate codes. Preserve the union of candidate telemetry. Do not default to Type-A solely because a taxonomy dimension is unknown. Record classification changes in the Classification History.

Safe-State release blocked? For Type-A: adversarial vector must be contained first. Consult the current ASCR-15 adversary campaign matrix and applicable campaign-pattern material for Safe-State-release exploitation or multi-stage physical-digital campaign behavior. For Type-S: AI/ML Engineering Lead must characterize the failure. For Type-X: OT Engineering Lead must confirm infrastructure remediation. CF2 (Part 2) Part B must be completed before any release.

Convergence-domain conditions: (1) Type-A producing Physical Impact Action; (2) governed hold not confirmed within HOLD_ENFORCEMENT_TARGET; (3) Safe-State active with classification unresolved beyond the deployment target; (4) physical consequence occurred and failure code remains undetermined. Notify the Convergence-Domain Safety Lead using SAFETY_NOTIFY_TARGET from the response configuration, anchored to activation or condition emergence as applicable.

Note: OE01 Part 4 (legacy CF6) is a navigation aid only. Make all decisions against the full playbook. Role assignments are in OE01 Part 1 (legacy CF1); the incident form is in OE01 Part 2 (legacy CF2).